## Figure 1
Figure 1. Annual and Cumulative Growth in U.S. Wind Power Capacity
| Annual | Cumulative
| US | US
| Wind | Wind
| Capacity | Capacity
| (GW) | (GW)
1998 | 0.14232 | 1.512
1999 | 0.844 | 2.385
2000 | 0.071 | 2.456
2001 | 1.69 | 4.147
2002 | 0.411 | 4.557
2003 | 1.665 | 6.222
2004 | 0.396 | 6.619
2005 | 2.374 | 8.993
2006 | 2.457 | 11.45
2007 | 5.253 | 16.702
2008 | 8.362 | 25.065
2009 | 10.005 | 35.068
2010 | 5.216 | 40.283
2011 | 6.82 | 46.93
2012 | 13.131 | 60.012
2013 | 1.087 | 61.11
2014 | 4.854 | 65.877

## Figure 2
Figure 2. Relative Contribution of Generation Types in Annual Capacity Additions
Nameplate Capacity Additions (GW)
Generation Type | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Wind | 0.070855 | 1.6905 | 0.41061 | 1.6649 | 0.3964 | 2.3744 | 2.4535 | 5.2525 | 8.3624 | 10.0052 | 5.22 | 6.8195 | 13.1327 | 1.0873 | 4.8538
Solar | 0.0033923 | 0.0098743 | 0.019772 | 0.039494 | 0.050215 | 0.068876 | 0.092035 | 0.21108 | 0.26885 | 0.39471 | 0.87589 | 1.6168 | 2.9767 | 4.4225 | 6.1184
Other Renewable | 0.16737 | 0.62034 | 0.42141 | 0.29864 | 0.21102 | 0.1065 | 0.41094 | 0.5264 | 0.45716 | 0.61702 | 0.45099 | 0.90816 | 1.0428 | 1.4141 | 0.4935
Gas | 28.6798 | 48.789 | 70.5089 | 54.7528 | 26.7739 | 19.0378 | 10.2413 | 8.2715 | 10.2086 | 11.9416 | 7.4611 | 11.8529 | 9.6081 | 7.6103 | 7.5828
Coal | 0.1805 | 0.006 | 0.5242 | 0.09 | 0.738 | 0.3727 | 0.5966 | 1.5135 | 1.591 | 3.6255 | 5.9743 | 1.555 | 4.76 | 1.543 | 0.946
Other non-Renewable | 1.3137 | 0.7805 | 1.1663 | 0.3954 | 0.5267 | 0.23947 | 0.3309 | 0.35858 | 0.1254 | 0.22468 | 1.1138 | 0.75538 | 0.09128 | 0.08309 | 0.078938
Total | 30.4157 | 51.8962 | 73.0512 | 57.2412 | 28.6963 | 22.1998 | 14.1252 | 16.1336 | 21.0135 | 26.8087 | 21.0961 | 23.5078 | 31.6115 | 16.1603 | 20.0735
Wind % of Total | 0.233% | 3.257% | 0.5621% | 2.908% | 1.381% | 10.7% | 17.37% | 32.56% | 39.8% | 37.32% | 24.74% | 29.01% | 41.54% | 6.728% | 24.18%

## Figure 3
Figure 3. Generation Capacity Additions by Region (2007-2014)
Cumulative Capacity Additions (GW)
Generation Type | West | Interior | Great Lakes | Southeast | Northeast | U.S. Total
Wind | 10.6543 | 32.1504 | 7.7551 | 0.6777 | 3.3705 | 54.6081
Solar | 11.3712 | 1.1015 | 0.27293 | 1.5269 | 2.6123 | 16.8849
Other Renewable | 2.1315 | 0.72917 | 0.65327 | 1.2218 | 0.68079 | 5.4165
Gas | 16.1823 | 16.1363 | 2.2457 | 27.2773 | 5.1126 | 66.9542
Coal | 0.692 | 9.1463 | 4.6036 | 6.1204 | 0 | 20.5623
Other non-Renewable | 0.43165 | 0.5352 | 0.22032 | 1.0428 | 0.52222 | 2.7522
Total | 41.463 | 59.7989 | 15.7509 | 37.867 | 12.2985 | 167.1782

## Figure 4
Figure 4. Approximate Wind Energy Penetration in the Twenty Countries with the Greatest Installed Wind Power Capacity
| Approximate | Approximate | Approximate | Approximate | Approximate | Approximate | Approximate
| Wind | Incremental Wind | Incremental Wind | Incremental Wind | Incremental Wind | Incremental Wind | Wind
| Penetration | Penetration | Penetration | Penetration | Penetration | Penetration | Penetration
| End of 2006 | End of 2008 | End of 2010 | End of 2012 | End of 2013 | End of 2014 | End of 2014
Denmark | 22.7% | 1.8% | 4.9% | 3.7% | 5.2% | 0.6% | 38.9%
Ireland | 7.8% | 2.9% | 4.8% | 4.3% | 3.4% | 2.7% | 25.9%
Portugal | 8% | 5.4% | 4.6% | 3.6% | 1.2% | 0.9% | 23.7%
Spain | 10% | 4.7% | 3.4% | 2.2% | 0.2% | 0.1% | 20.6%
Romania | 0% | 0.3% | 1.7% | 7% | 3.2% | 1.6% | 13.8%
Germany | 6.8% | 1.6% | 0.8% | 1.3% | 0.8% | 1.4% | 12.7%
U.K. | 1.5% | 1.2% | 2.2% | 2.7% | 1.6% | 1.3% | 10.5%
Greece | 3.4% | 0.9% | 1.7% | 1.9% | 0.4% | 0.5% | 8.8%
Sweden | 0.9% | 0.8% | 1.8% | 2.5% | 1.1% | 1.6% | 8.7%
Austria | 3% | 0.2% | -0.2% | 1.1% | 0.8% | 1.1% | 6%
Netherlands | 2.9% | 1.4% | -0.1% | 0.8% | 0.3% | 0.3% | 5.6%
Poland | 0.3% | 0.6% | 1% | 1.9% | 1.2% | 0.5% | 5.5%
Canada | 0.7% | 0.5% | 0.8% | 1.2% | 0.9% | 1% | 5.1%
Italy | 1.2% | 1% | 1.1% | 1.3% | 0.2% | 0% | 4.8%
U.S. | 0.8% | 1.1% | 1% | 1.5% | 0% | 0.4% | 4.8%
Australia | 1% | 0.9% | 0.5% | 0.9% | 0.8% | 0.7% | 4.8%
Turkey | 0.1% | 0.8% | 1.4% | 1% | 0.6% | 0.6% | 4.5%
France | 0.7% | 1% | 1.1% | 0.7% | 0.2% | 0.5% | 4.2%
China | 0.2% | 0.6% | 1.4% | 0.9% | 0.3% | 0.4% | 3.8%
India | 1.9% | 0.7% | 0.3% | 0.6% | 0.1% | 0.1% | 3.7%
Brazil | 0.2% | 0.3% | 0.3% | 0.8% | 0.4% | 1.2% | 3.2%
Mexico | 0.1% | 0.3% | 0.4% | 0.8% | 0.4% | 0.4% | 2.4%
Japan | 0.3% | 0.1% | 0.1% | 0.1% | 0% | 0% | 0.6%
TOTAL | 0.9% | 0.6% | 0.7% | 0.8% | 0.2% | 0.4% | 3.6%

## Figure 5
Figure 5. Location of Wind Power Development in the United States
| Cumulative MW | Incremental MW
| end of 2014 | in 2014
TX | 14098 | 1810.79
CA | 5917 | 106.9
IA | 5688 | 511.428
OK | 3781.9 | 648.1
IL | 3568.453 | -
OR | 3153.19 | -
WA | 3074.63 | 266.8
MN | 3035.175 | 48
KS | 2967 | -
CO | 2592.9 | 260.6
ND | 1885.99 | 204.8
NY | 1748.26 | 25.92
IN | 1744.5 | 200.85
MI | 1530.925 | 368.18
WY | 1410 | -
PA | 1339.5 | -
ID | 972.5 | -
NM | 812.33 | 34.75
NE | 811.73 | 277.45
SD | 803 | 19.5
MT | 665.115 | 19.72
WI | 648 | -
WV | 583.3 | -
MO | 458.5 | -
ME | 439.65 | 8.55
OH | 435 | 0.9
UT | 325.285 | -
AZ | 238.3 | -
HI | 205.56 | -
NH | 171.1 | -
MD | 160.3 | 40
NV | 151.8 | -
PR | 125.425 | -
VT | 119.45 | -
MA | 106.58 | 0.6
AK | 62.115 | -
TN | 28.98 | -
NJ | 9 | -
RI | 8.885 | -
DE | 2 | -

## Figure 6
Figure 6. Offshore Wind Power Projects Under Development in the United States
This figure does not contain any data that are not already shown in the figure.

## Figure 7
Figure 7. Nameplate Resource Capacity in 35 Selected Interconnection Queues
GW | Natural Gas | Wind | Solar | Nuclear | Coal | Other
Entered queue in 2014 | 64.6357 | 29.2024 | 19.5117 | 4.205 | 1.8368 | 7.0575
Total in queue at end of 2014 | 144.6021 | 95.8759 | 44.5639 | 9.963 | 3.6198 | 25.406

## Figure 8
Figure 8. Wind Power Capacity in 35 Selected Interconnection Queues
| Entered Queue in 2014 | Total in Queue at end of 2014
| (GW) | (GW)
ERCOT | 10.469 | 23.932
MISO / Midwest | 5.951 | 16.1094
SPP | 6.2516 | 14.327
PJM | 1.8128 | 12.5379
Northwest | 0.52985 | 10.2413
Mountain | 0.9992 | 7.1612
California | 0.2561 | 5.0717
ISO-New England | 2.36 | 4.0378
New York ISO | 0.2739 | 2.0077
Southeast | 0.299 | 0.45
| 29.2024 | 95.8759

## Figure 9
Figure 9. Annual U.S. Market Share of Wind Manufacturers by MW, 2005-2014
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
GE Wind | 1431 | 1146 | 2341.5 | 3585 | 3994.5 | 2543.2 | 2006.1 | 5016.36 | 983.6 | 2912.21
Siemens | 0 | 572.7 | 862.5 | 791.2 | 1161.5 | 828 | 1233.1 | 2637.93 | 87.31 | 1240.628
Vestas | 699.15 | 439.25 | 948.35 | 1120.035 | 1488.61 | 221.1 | 1969.35 | 1818.08 | 4 | 584.25
Gamesa | 50 | 74 | 494 | 616 | 600 | 566 | 154 | 1341.1 | 0 | 22.85
REpower | 0 | 0 | 0 | 94 | 330 | 68.45 | 171.95 | 594.5 | 0 | 0
Mitsubishi | 190 | 128 | 356 | 516.4 | 814.4 | 350.4 | 319.8 | 419.6 | 0 | 0
Nordex | 0 | 0 | 2.5 | 0 | 62.5 | 20 | 287.5 | 275.1 | 0 | 90.4
Clipper | 2.5 | 0 | 47.5 | 470 | 605 | 70 | 257.5 | 250 | 0 | 0
Acciona | 0 | 0 | 0 | 409.5 | 204 | 99 | 0 | 195 | 0 | 0
Suzlon | 0 | 91.55 | 198.15 | 737.5 | 702 | 412.6 | 333.9 | 186.9 | 0 | 0
Other | 1.765 | 1.95 | 2 | 22.8 | 42.683 | 41.24 | 86.83 | 398.1 | 12.425 | 1.5
| 2374.415 | 2453.45 | 5252.5 | 8362.435 | 10005.193 | 5219.99 | 6820.03 | 13132.67 | 1087.335 | 4851.838

## Figure 10
Figure 10. Location of Existing and New Turbine and Component Manufacturing Facilities
This figure does not contain any data that are not already shown in the figure.

## Figure 11
Figure 11. Number of Operating Wind Turbine and Component Manufacturing Facilities in the United States
Number of
Manufacturing Facilities
| Opened | Opened
| before 2014 | in 2014
Other | 78 | 0
Nacelle Components | 34 | 1
Blades | 10 | 0
Towers | 9 | 0
Turbines | 5 | 0

## Figure 12
Figure 12. Domestic Wind Manufacturing Capability vs. U.S. Wind Power Installations
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015e | 2016e | 2017e
| MW Capacity | 2457 | 5253 | 8362 | 10005 | 5216 | 6820 | 13131 | 1087 | 4854
| forecast MIN | 2015e: 7500; 2016e: 4800; 2017e: 980
| forecast MAX | 2015e: 9500; 2016e: 9000; 2017e: 3600
| Nacelle manufacturing capacity | 1325 | 2825 | 6335 | 5923 | 7425 | 11885.375 | 12478 | 10107 | 9404.5
| Nacelle manufacturing capacity - forecast only | 2015e: 9074.5; 2016e: 9074.5; 2017e: 9074.5
| Tower number of units in production capacity | 2012: 3810; 2013: 4315; 2014: 3752
| Blades number of units in production capacity | 2012: 12570; 2013: 11000; 2014: 10836
| average turbine size | 2012: 1.9458; 2013: 1.8645; 2014: 1.9246
| implied capacity tower manufacturing | 2012: 7413.498; 2013: 8045.3175; 2014: 7221.0992
| implied capacity blades manufacturing | 2012: 8152.902; 2013: 6836.5; 2014: 6951.6552

## Figure 13
Figure 13. Turbine OEM Global Profitability Over Time
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Gamesa | 13.64% | 13.81% | 12.89% | 11.83% | 6.529% | 12.33% | 12.86%
Vestas | 12.69% | 9.234% | 9.884% | 5.226% | 4.144% | 8.711% | 14.14%
Siemens |  |  |  | 11.8% | 8.488% | 8.794% | 1.545%
Nordex | 6.947% | 4.895% | 6.44% | -0.2172% | 0.7626% | 5.849% | 6.976%

## Figure 14
Figure 14. Estimated Imports of Wind-Powered Generating Sets, Towers, Generators, and Blades and Hubs, as well as Exports of Wind-Powered Generating Sets
|  | Imports | [6 empty] | Exports
|  | Billion US$2014 | [6 empty] | Million US$2014
| Annual Capacity Additions (GW) | Wind-Powered Generating Sets | Towers * | Other Wind-related Equipment * | Wind Generators | Wind Blades and Hubs | Positive Error | Negative Error | Wind-Powered Generating Sets
2006 | 2457 | 1.42 | 0.24 | 0.58 | - | - | 0.14 | 0.14 | 98
2007 | 5253 | 2.72 | 0.57 | 1.2 | - | - | 0.26 | 0.27 | 16
2008 | 8362 | 2.75 | 1.04 | 1.72 | - | - | 0.22 | 0.37 | 24
2009 | 10005 | 2.52 | 0.68 | 1.17 | - | - | 0.14 | 0.25 | 129
2010 | 5216 | 1.33 | 0.43 | 0.83 | - | - | 0.18 | 0.18 | 350
2011 | 6820 | 1.3 | 0.46 | 1.06 | - | - | 0.17 | 0.17 | 268
2012 | 13131 | 1.01 | 0.85 | - | 0.47 | 0.92 | - | - | 400
2013 | 1087 | 0.02 | 0.1 | - | 0.2 | 0.28 | - | - | 433
2014 | 4854 | 0.25 | 0.25 | - | 0.33 | 0.49 | - | - | 488
* estimated imports

## Figure 15
Figure 15. Summary Map of Tracked Wind-Specific Imports in 2014: Countries of Origin and U.S. Ports of Entry
| Total wind-specific exports to U.S., 2014 |  | Total wind-specific imports by port of entry, 2014
| Spain | 251.1 | Houston-Galveston, TX | 482.6
| China | 250.7 | Savannah, GA | 180.8
| Brazil | 183.9 | Great Falls, MT | 149
| Denmark | 148.5 | St. Louis, MO | 107.2
| Korea | 108 | Los Angeles, CA | 96.3
| Vietnam | 83.4 | Columbia-Snake, OR | 66
| Japan | 62.2 | Laredo, TX | 47.9
| Mexico | 50 | Detroit, MI | 36.8
| Serbia | 45.4 | Portland, ME | 30.2
| Germany | 45.1 | Minneapolis, MN | 26.6
| Indonesia | 24.3 | El Paso, TX | 22
| Canada | 24.1 | Baltimore, MD | 16.3
| India | 15.1 | New York, NY | 16
| France | 9.8 | Chicago, IL | 14.1
| United Kingdom | 5.2 | San Diego, CA | 5.8
| Taiwan | 5 | New Orleans, LA | 4.9
| Austria | 1.3 | Seattle, WA | 3.9
| Poland | 1.3 | Buffalo, NY | 3.5
| Czech Republic | 1.2 | Charleston, SC | 2.9
|  |  | Pembina, ND | 2.9
|  |  | Norfolk, VA | 1.7
|  |  | Ogdensburg, NY | 1
|  |  | Dallas-Fort Worth, TX | 1

## Figure 16
Figure 16. Origins of U.S. Imports of Selected Wind Turbine Equipment
* May not sum to 100% due to rounding
Wind Powered Generating Sets
2014
|  | Europe | Asia | Other |  | Spain | 37%
| 2005 | 84% | 16% | 0% |  | Denmark | 31%
| 2006 | 73% | 27% | 0% |  | China | 26%
| 2007 | 73% | 27% | 0% |  | Europe Other | 17%
| 2008 | 77% | 23% | 0% |  | Asia Other | 16%
| 2009 | 63% | 37% | 1% |  | Other | 0%
| 2010 | 76% | 24% | 1%
| 2011 | 96% | 3% | 1%
| 2012 | 67% | 32% | 1%
| 2013 | 54% | 43% | 3%
Towers
2014
|  | Asia | North America | Europe | Other | South Korea | 43%
| 2011 | 80% | 17% | 3% | 0% | Indonesia | 10%
| 2012 | 81% | 13% | 5% | 1% | Asia Other | 3%
| 2013 | 61% | 36% | 3% | 0% | Mexico | 10%
[6 empty] | Canada | 7%
[6 empty] | Spain | 25%
[6 empty] | Other | 2%
Wind Blades and Hubs
2014
|  | South America | Asia | Europe | Other | Brazil | 37%
| 2012 | 48% | 23% | 26% | 2% | China | 37%
| 2013 | 66% | 26% | 8% | 1% | Asia Other | 2%
[6 empty] | Denmark | 9%
[6 empty] | Spain | 8%
[6 empty] | Germany | 5%
[6 empty] | Europe Other | 2%
Wind Generators and Parts
2014
|  | Asia | Europe | North America | Other | Vietnam | 25%
| 2012 | 47% | 30% | 23% | 0% | Japan | 18%
| 2013 | 65% | 30% | 5% | 0% | Asia Other | 3%
[6 empty] | Spain | 15%
[6 empty] | Serbia | 14%
[6 empty] | Denmark | 8%
[6 empty] | Europe Other | 8%
[6 empty] | North America | 9%

## Figure 17
Figure 17. Cost of 15-Year Debt and Tax Equity for Utility-Scale Wind Projects Over Time
Data sourced from Bloomberg New Energy Finance

## Figure 18
Figure 18. Cumulative and 2014 Wind Power Capacity Categorized by Owner Type
Through Year | GW |  |  |  | Percent of Total
| IOU | POU | IPP | Other | IOU | POU | IPP | Other
1998 | 0.00725 | 0.008405 | 1.4849 | 0.002475 | 0.4824% | 0.5592% | 98.79% | 0.1647%
1999 | 0.079736 | 0.022159 | 2.2823 | 0.004125 | 3.339% | 0.9278% | 95.56% | 0.1727%
2000 | 0.079736 | 0.025559 | 2.3495 | 0.00435 | 3.242% | 1.039% | 95.54% | 0.1769%
2001 | 0.091856 | 0.035989 | 4.0134 | 0.008316 | 2.214% | 0.8673% | 96.72% | 0.2004%
2002 | 0.091856 | 0.10179 | 4.3443 | 0.022224 | 2.014% | 2.232% | 95.27% | 0.4873%
2003 | 0.091856 | 0.13486 | 5.9084 | 0.08994 | 1.476% | 2.166% | 94.91% | 1.445%
2004 | 0.25236 | 0.15509 | 6.0916 | 0.1224 | 3.811% | 2.342% | 92% | 1.849%
2005 | 0.60176 | 0.2204 | 8.0283 | 0.14541 | 6.689% | 2.45% | 89.24% | 1.616%
2006 | 1.1904 | 0.24641 | 9.7723 | 0.2403 | 10.4% | 2.152% | 85.35% | 2.099%
2007 | 1.7177 | 0.51411 | 14.1768 | 0.29325 | 10.28% | 3.078% | 84.88% | 1.756%
2008 | 3.2059 | 0.55101 | 20.8336 | 0.47374 | 12.79% | 2.198% | 83.12% | 1.89%
2009 | 4.2633 | 1.0662 | 29.081 | 0.65897 | 12.16% | 3.04% | 82.92% | 1.879%
2010 | 4.8649 | 1.2216 | 33.4466 | 0.75639 | 12.07% | 3.032% | 83.02% | 1.877%
2011 | 6.3567 | 1.4255 | 38.412 | 0.91479 | 13.49% | 3.026% | 81.54% | 1.942%
2012 | 7.4848 | 1.6442 | 49.9698 | 1.1429 | 12.42% | 2.729% | 82.95% | 1.897%
2013 | 7.5295 | 1.646 | 51 | 1.1536 | 12.28% | 2.684% | 83.16% | 1.881%
2014 | 8.8103 | 1.646 | 54.5724 | 1.1542 | 13.31% | 2.487% | 82.46% | 1.744%

## Figure 19
Figure 19. Cumulative and 2014 Wind Power Capacity Categorized by Power Off-Take Arrangement
Through Year | GW |  |  |  |  | Percent of Total
| IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant | IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant
1998 | 1.4522 | 0.048555 | 0 | 0.002225 | 0 | 96.62% | 3.23% | 0% | 0.148% | 0%
1999 | 2.2918 | 0.093209 | 0 | 0.003275 | 0 | 95.96% | 3.903% | 0% | 0.1371% | 0%
2000 | 2.3203 | 0.11341 | 0.0104 | 0.0035 | 0.01155 | 94.35% | 4.612% | 0.4229% | 0.1423% | 0.4697%
2001 | 2.8084 | 0.46064 | 0.83456 | 0.004466 | 0.04155 | 67.68% | 11.1% | 20.11% | 0.1076% | 1.001%
2002 | 2.9804 | 0.59256 | 0.94016 | 0.005574 | 0.04155 | 65.36% | 12.99% | 20.62% | 0.1222% | 0.9111%
2003 | 3.7789 | 0.85703 | 1.5412 | 0.006424 | 0.04155 | 60.7% | 13.77% | 24.76% | 0.1032% | 0.6675%
2004 | 4.1274 | 0.90331 | 1.5412 | 0.008034 | 0.04155 | 62.33% | 13.64% | 23.28% | 0.1213% | 0.6275%
2005 | 5.4795 | 1.3313 | 1.8658 | 0.020869 | 0.2985 | 60.91% | 14.8% | 20.74% | 0.232% | 3.318%
2006 | 6.6245 | 1.668 | 2.04 | 0.024064 | 1.0928 | 57.86% | 14.57% | 17.82% | 0.2102% | 9.545%
2007 | 9.0774 | 2.587 | 3.0919 | 0.028814 | 1.9168 | 54.35% | 15.49% | 18.51% | 0.1725% | 11.48%
2008 | 11.8363 | 4.3537 | 3.6928 | 0.076599 | 5.1049 | 47.22% | 17.37% | 14.73% | 0.3056% | 20.37%
2009 | 15.3916 | 6.8505 | 4.0605 | 0.12988 | 8.6371 | 43.89% | 19.53% | 11.58% | 0.3704% | 24.63%
2010 | 17.5526 | 8.4634 | 4.372 | 0.14785 | 9.7536 | 43.57% | 21.01% | 10.85% | 0.367% | 24.21%
2011 | 21.8542 | 9.3621 | 4.5188 | 0.18645 | 11.1875 | 46.39% | 19.87% | 9.592% | 0.3958% | 23.75%
2012 | 29.2713 | 12.3338 | 4.7255 | 0.2803 | 13.6308 | 48.59% | 20.47% | 7.844% | 0.4653% | 22.63%
2013 | 29.9621 | 12.4431 | 4.7255 | 0.29439 | 13.9039 | 48.85% | 20.29% | 7.705% | 0.48% | 22.67%
2014 | 32.4591 | 13.1634 | 4.7255 | 0.31764 | 15.5172 | 49.04% | 19.89% | 7.14% | 0.4799% | 23.45%

## Figure 20
Figure 20. Average Turbine Nameplate Capacity, Rotor Diameter, and Hub Height Installed during Period (only turbines larger than 100 kW)
| Average | Average | Average
| Nameplate | Rotor | Hub
| Capacity | Diameter | Height
| (MW) | (meters) | (meters)
1998-99 | 0.71102 | 47.8051 | 55.709
2000-01 | 0.88699 | 52.8873 | 58.1507
2002-03 | 1.2322 | 63.5726 | 66.1165
2004-05 | 1.436 | 72.8058 | 73.4169
2006 | 1.6104 | 77.7889 | 76.1135
2007 | 1.6455 | 79.0393 | 78.1616
2008 | 1.6685 | 79.3343 | 78.4965
2009 | 1.7431 | 81.5585 | 78.8542
2010 | 1.7952 | 84.2354 | 79.769
2011 | 1.9678 | 89.0305 | 81.0043
2012 | 1.9458 | 93.4117 | 83.7728
2013 | 1.8645 | 96.8857 | 80.4948
2014 | 1.9246 | 99.4436 | 82.6772

## Figure 21
Figure 21. Trends in Turbine Nameplate Capacity
| 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
<1.0 MW | 99.72% | 67.53% | 29.95% | 4.275% | 2.574% | 0.03135% | 0.1199% | 0.3314% | 0.2757% | 0.2887% | 0.3409% | 1.203% | 0.16%
1.0 - 1.5 MW | 0% | 17.93% | 14.97% | 16.16% | 12.28% | 11.41% | 10.83% | 4.954% | 0.4135% | 0.05774% | 0.7857% | 0% | 0%
1.5 - 2.0 MW | 0.2847% | 14.54% | 55.02% | 78.21% | 66.53% | 64.33% | 62.05% | 61.66% | 60.27% | 55.66% | 51.66% | 81.96% | 66.88%
2.0 - 2.5 MW | 0% | 0% | 0% | 1.303% | 18.09% | 22.29% | 20.7% | 26.97% | 35.29% | 28.41% | 34.64% | 7.388% | 28.32%
2.5 - 3.0 MW | 0% | 0% | 0% | 0.05214% | 0% | 0.627% | 3.797% | 4.657% | 1.275% | 8.747% | 6.537% | 9.45% | 0.88%
≥3.0 MW | 0% | 0% | 0.05942% | 0% | 0.5281% | 1.317% | 2.498% | 1.43% | 2.481% | 6.842% | 6.033% | 0% | 3.76%
Average | 0.71102 | 0.88699 | 1.2322 | 1.436 | 1.6104 | 1.6455 | 1.6685 | 1.7431 | 1.7952 | 1.9678 | 1.9458 | 1.8645 | 1.9246
n | 1405 | 1974 | 1683 | 1918 | 1515 | 3190 | 5004 | 5733 | 2902 | 3464 | 6746 | 582 | 2500

## Figure 22
Figure 22. Trends in Turbine Hub Height
| 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
<70 m | 99.72% | 93.52% | 76.35% | 40.88% | 23.17% | 14.08% | 11.21% | 7.291% | 0.2068% | 1.443% | 4.328% | 0.8591% | 0.16%
70 - 80 m | 0% | 6.484% | 8.913% | 7.404% | 4.884% | 11.79% | 13.65% | 11.27% | 15.99% | 3.291% | 6.211% | 0.3436% | 0%
80 - 90 m | 0.2847% | 0% | 14.74% | 51.72% | 71.95% | 73.48% | 75.1% | 81.44% | 83.22% | 88.42% | 65.25% | 98.11% | 84.08%
90 - 100 m | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 3.147% | 8.109% | 0% | 15.12%
≥100 m | 0% | 0% | 0% | 0% | 0% | 0.6583% | 0.03997% | 0% | 0.5858% | 3.695% | 16.1% | 0.6873% | 0.64%
Average | 55.709 | 58.1507 | 66.1165 | 73.4169 | 76.1135 | 78.1616 | 78.4965 | 78.8542 | 79.769 | 81.0043 | 83.7728 | 80.4948 | 82.6772
n | 1405 | 1974 | 1683 | 1918 | 1515 | 3190 | 5004 | 5733 | 2902 | 3464 | 6746 | 582 | 2500

## Figure 23
Figure 23. Trends in Turbine Rotor Diameter
| 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
<70 m | 100% | 85.82% | 47.53% | 20.44% | 14.85% | 11.44% | 10.95% | 5.285% | 0.6892% | 0.3464% | 1.112% | 1.203% | 0.16%
70 - 80 m | 0% | 14.18% | 42.07% | 55.37% | 50.43% | 48.93% | 49.32% | 44.29% | 32.87% | 13.89% | 5.915% | 0% | 0%
80 - 90 m | 0% | 0% | 10.34% | 24.14% | 17.76% | 25.92% | 25.6% | 29.55% | 43.11% | 29.82% | 25.56% | 24.4% | 19.36%
90 - 100 m | 0% | 0% | 0.05942% | 0.05214% | 16.96% | 13.7% | 14.13% | 20.86% | 15.68% | 32.56% | 20.07% | 0% | 0%
100 - 110 m | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.01744% | 7.65% | 23.38% | 45.2% | 74.4% | 75.32%
≥110 m | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2.135% | 0% | 5.16%
Average | 47.8051 | 52.8873 | 63.5726 | 72.8058 | 77.7889 | 79.0393 | 79.3343 | 81.5585 | 84.2354 | 89.0305 | 93.4117 | 96.8857 | 99.4436
n | 1405 | 1974 | 1683 | 1918 | 1515 | 3190 | 5004 | 5733 | 2902 | 3464 | 6745 | 582 | 2500

## Figure 24
Figure 24. Trends in Turbine Specific Power
| 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
≥190 - 220 W/m2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.02887% | 16.1% | 58.25% | 47.96%
≥220 - 300 W/m2 | 0.6406% | 0.152% | 1.188% | 0.1043% | 0.33% | 0% | 4.856% | 7.5% | 35.53% | 52.74% | 44.42% | 6.873% | 29.52%
≥300 - 400 W/m2 | 72.38% | 81.41% | 87.28% | 99.32% | 99.08% | 98.65% | 92.65% | 90.13% | 61.85% | 40.59% | 36.35% | 34.88% | 22.52%
≥400 - 700 W/m2 | 26.98% | 18.44% | 11.53% | 0.5735% | 0.5941% | 1.348% | 2.498% | 2.372% | 2.619% | 6.64% | 3.128% | 0% | 0%
Average | 394.214 | 389.716 | 376.923 | 339.589 | 334.198 | 330.75 | 332.343 | 329.236 | 319.247 | 314.884 | 285.908 | 255.257 | 248.675
n | 1405 | 1974 | 1683 | 1918 | 1515 | 3190 | 5004 | 5733 | 2902 | 3464 | 6745 | 582 | 2500

## Figure 25
Figure 25. Trends in Turbine IEC Class
| 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Class 1 | 31.34% | 79.02% | 37.77% | 2.434% | 2.906% | 0.6899% | 5.18% | 3.121% | 2.485% | 9.167% | 5.089% | 0% | 0.08003%
Class 1/2 | 0% | 0% | 10.36% | 14.6% | 8.454% | 2.446% | 2.7% | 0.3879% | 0% | 0.02892% | 0.3412% | 0% | 1.2%
Class 2 | 10.39% | 20.98% | 51.87% | 80.37% | 84.68% | 96.61% | 89.12% | 89.46% | 78.39% | 70.24% | 41.57% | 10.23% | 4.322%
Class 2/3 | 0% | 0% | 0% | 0% | 0.1321% | 0% | 0.94% | 3.033% | 2.14% | 9.254% | 20.91% | 23.74% | 26.53%
Class 3 | 58.27% | 0% | 0% | 2.593% | 3.831% | 0.2509% | 2.06% | 4.003% | 16.98% | 11.31% | 32.09% | 66.03% | 67.87%
Average | 2.2041 | 1.2098 | 1.5705 | 1.9286 | 1.9676 | 1.9834 | 1.96 | 2.022 | 2.1557 | 2.0675 | 2.3729 | 2.779 | 2.8045
n | 1203 | 1973 | 1660 | 1890 | 1514 | 3189 | 5000 | 5671 | 2897 | 3458 | 6740 | 577 | 2499

## Figure 26
Figure 26. Trends in Specific Power for IEC Class 2 and 3 Turbines
W/m2 | 1998-99 | 2000-01 | 2002-03 | 2004-05 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
IEC Class 2 | 408.735 | 395.992 | 374.557 | 336.307 | 327.212 | 328.899 | 326.73 | 327.778 | 322.359 | 307.53 | 309.287 | 340.772 | 318.63
IEC Class 3 | [6 empty] | 309.951 | 292.017 | 283.372 | 291.379 | 233.708 | 220.79 | 228.768
Note: Specific power averages are shown only for years where there were at least 100 turbines in the respective IEC Class

## Figure 27
Figure 27. Deployment of Turbines Originally Designed for Lower Wind Speed Sites, by Region
| Hub Height | Hub Height | Specific Power | Specific Power | IEC Class | IEC Class
Region | 90-100 m | >100 m | 220-300 W/m2 | 190-220 W/m2 | Class 2/3 | Class 3
West | 4.39% | 0% | 38.89% | 8.14% | 12.12% | 25.79%
Interior | 5.49% | 2.93% | 41.38% | 28.13% | 23.3% | 46.59%
Great Lakes | 23.38% | 50.35% | 28.45% | 50.42% | 29.45% | 61.16%
Northeast | 23.83% | 23.65% | 28% | 11.83% | 29.07% | 16.64%

## Figure 28
Figure 28. Deployment of Turbines Originally Designed for Lower Wind Speed Sites, by Estimated Wind Resource Quality
Resource | Hub Height | Hub Height | Specific Power | Specific Power | IEC Class | IEC Class
Quality | 90-100 m | >100 m | 220-300 W/m2 | 190-220 W/m2 | Class 2/3 | Class 3
Lower | 20.52% | 20.41% | 43.13% | 23.99% | 24.41% | 38.14%
Medium | 12.23% | 21.65% | 45.98% | 37.99% | 25.2% | 59.14%
Higher | 0.7% | 5.81% | 27.07% | 36.17% | 15% | 43.64%
Highest | 4.45% | 0.59% | 37.26% | 14.94% | 27.08% | 37.07%

## Figure 29
Figure 29. Regional Boundaries Overlaid on a Map of Average Annual Wind Speed at 80 Meters
This figure does not contain any data that are not already shown in the figure.

## Figure 30
Figure 30. Average Cumulative Sample-Wide Capacity Factor by Calendar Year
| Net | Net
| Capacity | Capacity
| Factor | Factor
| (based on actual | (based on estimated
| generation, with | generation, if no
| curtailment) | curtailment)
2000 | 31.66% | 31.66%
2001 | 31.59% | 31.59%
2002 | 30.01% | 30.01%
2003 | 28.74% | 28.74%
2004 | 29.91% | 29.91%
2005 | 29.86% | 29.86%
2006 | 32.13% | 32.13%
2007 | 32.36% | 32.49%
2008 | 34.25% | 35.35%
2009 | 29.73% | 31.75%
2010 | 30.68% | 31.69%
2011 | 33.35% | 34.43%
2012 | 32.41% | 33.01%
2013 | 32.29% | 32.8%
2014 | 33.5% | 34.05%

## Figure 31
Figure 31. Estimated Wind Curtailment by Region as a Percentage of Potential Wind Generation
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
ERCOT | 1.2% | 8.4% | 17.1% | 7.7% | 8.5% | 3.8% | 1.2% | 0.5%
MISO |  |  | 1.9% | 3.9% | 3.2% | 2.6% | 4.7% | 5.5%
BPA |  |  |  | 0.1% | 1.4% | 0.7% | 0.1%
NYISO | [5 empty] | 0.3% | 1.4% | 0.7%
PJM | [5 empty] | 2% | 1.9% | 0.7%
ISO-NE | [7 empty] | 3.3%
SPP | [7 empty] | 0.7%
TOTAL SAMPLED | 1.2% | 8.4% | 11.1% | 5.3% | 5.4% | 2.7% | 2.5% | 2.3%

## Figure 32
Figure 32. Calendar year 2014 capacity factors by project vintage
Capacity-
Weighted
Average
Project | Sample | Sample | Capacity
Vintage | MW | Projects | Factor
1998-99 | 921.46 | 25 | 26.32%
2000-01 | 1759.99 | 27 | 27.75%
2002-03 | 1988.27 | 38 | 30.97%
2004-05 | 3651.83 | 28 | 33.98%
2006 | 1708.34 | 20 | 33.49%
2007 | 5282.3 | 37 | 34.09%
2008 | 8497.85 | 79 | 34.49%
2009 | 9578.15 | 96 | 31.98%
2010 | 4733.2 | 48 | 33.83%
2011 | 5916.85 | 68 | 32.61%
2012 | 13532.96 | 117 | 35.45%
2013 | 968.66 | 8 | 34.99%
Total | 58539.86 | 591

## Figure 33
Figure 33. Index of Wind Resource Quality at 80 Meters vs. Specific Power
Index of
| Average Wind | Average
| Resource Quality | Specific
| at 80m Hub Height | Power
| (1998-99=100) | (W/m2)
1998-99 | 100 | 394.2311
2000-01 | 96.9152 | 389.7158
2002-03 | 95.5352 | 376.9234
2004-05 | 95.9435 | 339.5886
2006 | 92.137 | 334.1984
2007 | 94.0922 | 330.7503
2008 | 93.769 | 332.3433
2009 | 88.4542 | 329.2362
2010 | 87.637 | 319.2468
2011 | 84.8887 | 314.884
2012 | 85.4294 | 285.8658
2013 | 89.0867 | 255.2573
2014 | 94.8002 | 248.6751

## Figure 34
Figure 34. Calendar year 2014 capacity factors by wind resource quality and specific power
Average Capacity Factor |  | Wind Resource Quality
Specific Power Range |  | Lower | Medium | Higher | Highest
| ≥ 400 W/m2 | 20.85% | 23.05% | 24.03% | 34.02%
< 400 W/m2 | ≥ 300 W/m2 | 27.32% | 29.83% | 34.22% | 36.94%
< 300 W/m2 | ≥ 220 W/m2 | 30.18% | 35.58% | 39.02% | 45.96%
< 220 W/m2 |  | 37.47% | 40.3% | 45.89% | N/A
Projects in Sample |  | Wind Resource Quality
Specific Power Range |  | Lower | Medium | Higher | Highest
| ≥ 400 W/m2 | 4 | 4 | 11 | 14
< 400 W/m2 | ≥ 300 W/m2 | 105 | 73 | 101 | 112
< 300 W/m2 | ≥ 220 W/m2 | 57 | 25 | 22 | 23
< 220 W/m2 |  | 8 | 5 | 4 | N/A
MW in Sample |  | Wind Resource Quality
Specific Power Range |  | Lower | Medium | Higher | Highest
| ≥ 400 W/m2 | 155.75 | 497.9 | 1299.75 | 1075.52
< 400 W/m2 | ≥ 300 W/m2 | 7856.16 | 9585.63 | 12684.58 | 11156.97
< 300 W/m2 | ≥ 220 W/m2 | 3707.75 | 3069.86 | 2209.4 | 2655.1
< 220 W/m2 |  | 766.06 | 692.28 | 784.8 | N/A

## Figure 35
Figure 35. Calendar year 2014 capacity factors by project vintage and wind resource quality
| Weighted Average Capacity Factor |  |  |  | MW in Sample |  |  |  | Projects in Sample
| Wind Resource Quality |  |  |  | Wind Resource Quality |  |  |  | Wind Resource Quality
COD | Lower | Medium | Higher | Highest | Lower | Medium | Higher | Highest | Lower | Medium | Higher | Highest
1 | 26.74% | N/A | N/A | 26.6% | 141.36 | N/A | N/A | 553.08 | 6 | N/A | N/A | 13
2 | 20.18% | 24.4% | 26.99% | 31.45% | 149.75 | 336.24 | 549.4 | 724.6 | 7 | 4 | 6 | 10
3 | 29.17% | 26.54% | 30.75% | 35.17% | 167.4 | 448.28 | 671.48 | 598.69 | 13 | 6 | 6 | 11
4 | 31.12% | 32.55% | 30.7% | 39.57% | 177 | 688.26 | 1587.87 | 1198.7 | 4 | 5 | 8 | 11
5 | 28.19% | N/A | 35.34% | 38.46% | 345.66 | N/A | 602.98 | 487.1 | 6 | N/A | 7 | 6
6 | 30.8% | 29.75% | 35.51% | 39.26% | 415.7 | 1943.6 | 1419.2 | 1503.8 | 6 | 9 | 11 | 11
7 | 25.83% | 29.79% | 35.75% | 37.74% | 746.6 | 1493.55 | 3168.4 | 3011.9 | 14 | 15 | 22 | 25
8 | 26.61% | 30.95% | 33.03% | 39.44% | 2370.95 | 2706 | 2810.4 | 1690.8 | 37 | 16 | 25 | 18
9 | 29.96% | 30.54% | 36.11% | 41.11% | 1150.5 | 1671.9 | 789.9 | 1120.9 | 16 | 14 | 9 | 9
10 | 29% | 30.86% | 33.94% | 39.52% | 1736.15 | 1523.4 | 1678.7 | 975.6 | 30 | 14 | 13 | 10
11 | 29.93% | 36.51% | 37.9% | 41.55% | 4878.6 | 2717.84 | 3330.65 | 2605.87 | 48 | 21 | 26 | 22
12 | 32.19% | N/A | N/A | N/A | 358.71 | N/A | N/A | N/A | 4 | N/A | N/A | N/A

## Figure 36
Figure 36. Calendar year 2014 capacity factors by region: 2012-2013 vintage projects only
Average Net
| Capacity | Sample | Sample
Region | Factor | MW | Projects
West | 26.54% | 3937.9 | 32
Northeast | 31.66% | 1147.11 | 15
Great Lakes | 35.53% | 2108.66 | 18
Interior | 40.79% | 7252.75 | 59
| 35.42% | 14446.42 | 124

## Figure 37
Figure 37. Calendar year 2014 capacity factors by region and specific power
Capacity Factor
|  | West | Northeast | Great Lakes | Interior
| ≥ 400 W/m2 | 23.87% | 27.27% | N/A | N/A
< 400 W/m2 | ≥ 300 W/m2 | 25.98% | 31.78% | 32.93% | 35.64%
< 300 W/m2 | ≥ 220 W/m2 | 27.89% | 32.43% | 33.14% | 42.53%
< 220 W/m2 |  | 32.24% | 33.73% | 38.83% | 45.47%
MW in sample
|  | West | Northeast | Great Lakes | Interior
| ≥ 400 W/m2 | 702 | 99 | 0 | 0
< 400 W/m2 | ≥ 300 W/m2 | 1668.25 | 680.15 | 504 | 2280.32
< 300 W/m2 | ≥ 220 W/m2 | 1407.65 | 274 | 701.08 | 3886.83
< 220 W/m2 |  | 160 | 93.96 | 903.58 | 1085.6
Projects in sample
|  | West | Northeast | Great Lakes | Interior
| ≥ 400 W/m2 | 5 | 1 | 0 | 0
< 400 W/m2 | ≥ 300 W/m2 | 11 | 9 | 2 | 20
< 300 W/m2 | ≥ 220 W/m2 | 15 | 4 | 7 | 33
< 220 W/m2 |  | 1 | 1 | 9 | 6

## Figure 38
Figure 38. Reported Wind Turbine Transaction Prices over Time
2014 $/kW
Order Size: | <5 MW | 5-100 MW | >100 MW
1997-02-01 | 1706
1997-12-01 | 1329
1998-01-01 | 1301
1998-05-01 |  | 1098
1998-05-01 |  | 1256
1998-08-01 |  | 1028
1998-08-01 |  | 1028
1998-11-01 |  | 1276
1998-11-01 |  |  | 1142
2000-07-01 |  |  | 630
2000-12-01 |  |  | 875
2001-03-01 |  | 1015
2001-04-01 |  |  | 649
2002-02-01 |  | 848
2002-04-01 |  |  | 643
2002-05-01 |  | 769
2002-06-01 |  |  | 863
2002-08-01 |  | 770
2002-12-01 |  |  | 873
2003-05-01 |  | 1050
2003-06-01 |  |  | 1014
2003-07-01 |  | 1081
2004-12-01 |  |  | 1039
2004-08-01 |  | 1087
2005-03-01 |  | 1189
2005-05-01 |  | 1380
2005-11-01 |  |  | 1357
2006-01-01 |  |  | 1388
2006-05-01 |  |  | 1374
2006-06-01 |  |  | 1254
2006-07-01 |  |  | 1295
2006-07-01 |  |  | 1235
2006-09-01 |  |  | 1199
2006-09-01 |  | 1648
2007-03-01 |  |  | 1358
2007-03-01 |  |  | 1431
2007-03-01 |  | 1211
2007-04-01 |  | 1240
2007-05-01 |  |  | 1079
2007-06-01 |  |  | 1480
2007-06-01 |  |  | 1645
2007-06-01 |  |  | 1391
2007-06-01 |  |  | 1233
2007-07-01 | 1630
2007-08-01 | 2097
2007-09-01 |  |  | 1460
2007-09-01 |  |  | 1478
2007-10-01 |  |  | 1547
2007-10-01 |  |  | 1611
2007-11-01 |  |  | 1621
2007-12-01 |  |  | 1436
2008-01-01 |  | 1815
2008-01-01 |  |  | 1377
2008-02-01 |  |  | 1540
2008-03-01 |  |  | 1463
2008-04-01 |  |  | 1934
2008-04-01 | 2191
2008-06-01 |  |  | 1786
2008-08-01 | 1669
2008-10-01 |  | 1592
2008-11-01 |  | 1617
2008-11-01 |  |  | 1202
2008-12-01 | 1831
2009-02-01 | 1299
2009-03-01 |  | 1507
2009-04-09 |  | 1161
2009-05-01 | 1409
2009-06-01 |  | 1549
2009-07-01 | 1708
2009-07-01 |  | 1776
2009-08-01 |  |  | 1446
2009-09-01 | 1772
2009-10-01 |  |  | 1680
2009-12-01 |  |  | 1727
2010-01-01 |  | 2104
2010-01-01 |  | 1614
2010-03-01 |  | 1613
2010-06-01 |  | 1273
2010-07-01 | 1604
2010-07-01 |  |  | 1497
2010-07-01 | 1639
2010-08-01 |  |  | 1431
2010-10-01 |  | 1315
2010-10-01 |  | 1257
2011-02-01 |  | 1295
2011-02-01 |  | 1577
2011-03-01 |  | 1235
2011-05-31 | 1181
2011-05-01 | 1750
2011-06-01 | 1257
2011-08-01 | 1739
2011-09-01 | 1738
2011-09-01 |  |  | 1347
2011-10-01 |  |  | 1396
2011-10-01 |  | 1016
2011-11-01 |  |  | 1400
2011-12-01 |  |  | 1070
2012-01-01 |  | 1556
2012-01-01 |  |  | 1040
2012-02-01 |  | 1172
2012-02-01 |  | 998
2012-10-01 |  | 1190
2013-01-17 |  | 1192
2013-01-01 |  | 1319
2013-05-01 |  |  | 1265
2013-05-01 |  | 1119
2013-07-01 |  | 1156
2013-11-01 |  |  | 1346
2013-12-01 |  | 930
2013-12-01 |  |  | 1272
2013-12-01 |  | 1508
2014-01-01 |  |  | 931
2014-03-01 |  |  | 874
2014-05-01 |  | 1231
2014-07-01 |  | 1116
2014-12-01 |  | 1162
2015-01-01 |  | 1185

## Figure 39
Figure 39. Installed Wind Power Project Costs over Time
Capacity-
Weighted
Average
2014 $/kW
1982
1983 | 5134.6206
1984
1985 | 3282.7799
1986 | 3364.7465
1987 | 2064.4559
1988
1989 | 2642.238
1990 | 2989.542
1991
1992
1993
1994 | 1849.5422
1995 | 1905.7256
1996 | 1557.4463
1997 | 2523.8308
1998 | 1436.6702
1999 | 1686.6376
2000 | 1698.3888
2001 | 1333.3388
2002 | 1558.9928
2003 | 1415.696
2004 | 1304.0389
2005 | 1530.0592
2006 | 1707.8991
2007 | 1879.6607
2008 | 2101.0287
2009 | 2297.7174
2010 | 2294.1471
2011 | 2199.1627
2012 | 1987.4316
2013 | 1614.6146
2014 | 1707.067

## Figure 40
Figure 40. Installed Wind Power Project Costs by Project Size: 2014 Projects
| 2014 | 2014 | 2014
Project | Sample | Sample | Average Cost
Size | Projects | MW | 2014$/kW
≤5 MW | 6 | 8.85 | 2996.4702
>5 MW & ≤20 MW | 6 | 86.52 | 1879.1705
>20 MW & ≤50 MW | 2 | 88 | 2017.6276
>50 MW & ≤100 MW | 4 | 311.8 | 1844.816
>100 MW & ≤200 MW | 11 | 1713.086 | 1635.6536
>200 MW | 7 | 1680.022 | 1722.3979
Total | 36 | 3888.278

## Figure 41
Figure 41. Installed Wind Power Project Costs by Turbine Size: 2014 Projects
| 2014 | 2014 | 2014
Turbine | Sample | Sample | Average Cost
Size | Projects | MW | 2014 $/kW
>0.1 & <1 MW | 2 | 1.45 | 3116.3869
≥1 & <2 MW | 22 | 2236.6 | 1734.2506
≥2 & <3 MW | 11 | 1445.428 | 1675.0799
≥3 MW | 1 | 204.8 | 1625.9766
Total | 36 | 3888.278

## Figure 42
Figure 42. Installed Wind Power Project Costs by Region: 2014 Projects
| 2014 | 2014 | 2014
| Sample | Sample | Average Cost
| MW | Projects | 2014 $/kW
Interior | 2960.848 | 22 | 1637.7793
West | 274.2 | 5 | 1762.8757
Northeast | 94.6 | 2 | 1959.082
Great Lakes | 518.63 | 6 | 1963.1878
Southeast | 40 | 1 | 2536.4461
Total US | 3888.278 | 36 | 1707.067

## Figure 43
Figure 43. Average O&M Costs for Available Data Years from 2000–2014, by Commercial Operation Date
The data for Figure 43 are not provided because some of the data points are confidential.

## Figure 44
Figure 44. Median Annual O&M Costs by Project Age and Commercial Operation Date
Commercial Operation Date | Number of Years Since Commercial Operation Date
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1998-2004 | 12.6095 | 12.485 | 11.6365 | 14.982 | 17.6426 | 20.7983 | 23.0884 | 17.3908 | 20.7094 | 22.9991 | 34.6208 | 28.3599 | 25.0916 | 24.3085 | 29.5093
2005-2008 | 7.9458 | 7.3894 | 7.4784 | 8.0492 | 7.8043 | 7.8555 | 7.098 | 9.7653 | 10.1528 | n/a | n/a | n/a | n/a | n/a | n/a
2009-2013 | 7.441 | 8.0138 | 9.2363 | 6.9617 | 8.1114 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
n/a = insufficient data

## Figure 45
Figure 45. Levelized Wind PPA Prices by PPA Execution Date and Region
The project-level data for Figure 45 are not provided because some of the data points are confidential.

## Figure 46
Figure 46. Generation-Weighted Average Levelized Wind PPA Prices by PPA Execution Date and Region
PPA
Execution | Nationwide | Great Lakes | Interior | West | Northeast
Year | 2014 $/MWh | 2014 $/MWh | 2014 $/MWh | 2014 $/MWh | 2014 $/MWh
1996-99 | 42.8101 |  | 40.9213 | 61.18
2000-01 | 36.3857 | 92.4831 | 32.892 | 33.9849 | 48.0613
2002-03 | 33.9372 |  | 29.8535 | 42.4312 | 47.2535
2004-05 | 37.9481 | 64.3388 | 34.8003 | 51.7406
2006 | 51.0956 | 53.6858 | 45.1407 | 62.8145 | 63.3925
2007 | 52.1821 | 62.1679 | 43.6762 | 70.8606
2008 | 64.9018 | 64.5473 | 53.3126 | 88.7447 | 91.1708
2009 | 68.8407 | 76.3522 | 54.0044 | 95.8503 | 68.5735
2010 | 61.6213 | 77.8111 | 46.6951 | 96.7679 | 80.8517
2011 | 45.0587 | 56.6286 | 36.1277 | 75.5182 | 58.9239
2012 | 38.7544 | 43.4277 | 31.2741 | 66.7983 | 54.3232
2013 | 26.5262 | 44.2037 | 22.238 | 59.8424
2014 | 23.4349 | 34.3095 | 22.416

## Figure 47
Figure 47. Average Levelized Long-Term Wind PPA Prices and Yearly Wholesale Electricity Prices over Time
Average
| Wholesale | Wholesale | Levelized
| Power Price | Power Price | Wind PPA
| Min | Max | Price
| (2014 $/MWh) | (2014 $/MWh) | (2014 $/MWh)
2003 | 32.1603 | 64.2456 | 34.7564
2004 | 35.5021 | 63.0031 | 39.3573
2005 | 53.2266 | 91.1103 | 37.5625
2006 | 43.4136 | 71.8579 | 51.0956
2007 | 48.3241 | 80.3948 | 52.1821
2008 | 50.3999 | 94.6174 | 64.9018
2009 | 26.1391 | 46.5782 | 68.8407
2010 | 28.116 | 54.7295 | 61.6213
2011 | 23.9196 | 51.069 | 45.0587
2012 | 19.8073 | 38.6027 | 38.7544
2013 | 23.8541 | 57.1195 | 26.5262
2014 | 28.5879 | 64.5643 | 23.4349
Note on B6: By calendar year
Note on C6: By calendar year
Note on D6: By PPA execution year

## Figure 48
Figure 48. Levelized Long-Term Wind PPA Prices in 2012-2014 and Yearly Wholesale Electricity Prices by Region
| 2014 | 2014 | Average
| Wholesale | Wholesale | Levelized
| Power Price | Power Price | Wind PPA
| Min | Max | Price
| (2014 $/MWh) | (2014 $/MWh) | (2014 $/MWh)
Interior | 28.5879 | 38.8603 | 22.5583
Great Lakes | 37.0405 | 44.9404 | 41.2458
Northeast | 46.5408 | 64.5643 | 53.9463
West | 33.5625 | 52.5041 | 58.9003
Total US | 28.5879 | 64.5643 | 26.073
Note on D6: Among PPAs signed in 2012-2014

## Figure 49
Figure 49. Average Long-Term Wind PPA Prices (by Vintage) and Natural Gas Fuel Cost Projections over Time
|  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Average Wind PPA Prices (2014 $/MWh)
| 2012 PPA Execution | 42.0526 | 41.5209 | 41.0774 | 40.6301 | 40.2406 | 39.8505 | 39.5272 | 38.9924 | 37.7735 | 37.3352 | 36.8828 | 36.4366 | 35.9927 | 35.5496 | 35.1085 | 34.6576 | 34.1856 | 33.5347 | 31.8476 | 30.0842 | 27.6113 | 27.1011 | 26.0121
| 2013 PPA Execution | 27.5206 | 25.5686 | 25.1077 | 24.9942 | 24.8885 | 24.8016 | 24.6266 | 24.5528 | 24.3004 | 24.1164 | 24.056 | 23.9973 | 23.9375 | 23.8755 | 23.8125 | 23.7383 | 23.6469 | 23.5586 | 23.4719 | 23.1528 | 22.5451 | 23.4809 | 23.6751 | 23.372 | 20.7214
| 2014 PPA Execution | 24.6653 | 24.7473 | 24.2546 | 24.0593 | 23.8723 | 23.7113 | 23.5662 | 23.4376 | 23.3194 | 23.2098 | 23.089 | 22.6084 | 22.5119 | 22.4144 | 22.3165 | 22.2092 | 22.0848 | 21.9652 | 22.1093 | 22.2246 | 22.6468 | 23.4091 | 24.1325 | 23.6689 | 23.1919 | 22.7172
AEO14 Gas Price Projections (converted from $/MMBtu to 2014 $/MWh using the average heat rate implied by the modeling output)
| Min | 35.5175 | 35.4608 | 33.7088 | 31.1818 | 30.8543 | 30.5734 | 31.1339 | 31.4109 | 32.4165 | 32.6823 | 33.189 | 33.4458 | 33.7631 | 34.1969 | 34.0526 | 34.0399 | 34.1526 | 34.437 | 34.9539 | 35.4814 | 36.2084 | 36.6709 | 37.1459 | 37.3942 | 37.9249 | 37.9277
| Reference Case | 37.7584 | 37.9256 | 36.6826 | 37.5859 | 41.1546 | 44.7756 | 46.828 | 47.8868 | 49.3051 | 50.2682 | 51.2059 | 52.4102 | 51.8378 | 50.5085 | 50.1045 | 49.6221 | 50.6252 | 51.6551 | 52.6917 | 53.7585 | 54.7316 | 55.885 | 57.0633 | 58.509 | 60.9516 | 63.7442
| Max | 37.7584 | 39.3276 | 38.7335 | 39.1192 | 42.9716 | 46.6263 | 48.8571 | 50.5965 | 55.4911 | 59.0492 | 61.1318 | 62.1197 | 62.0406 | 60.9706 | 61.5625 | 62.8746 | 64.6491 | 66.0863 | 66.1149 | 66.0997 | 67.0638 | 68.9073 | 70.52 | 73.584 | 77.2451 | 79.4116

## Figure 50
Figure 50. State RPS Policies as of July 2015
This figure does not contain any data that are not already shown on the map.

## Figure 51
Figure 51. Miles of Transmission Projects Completed, by Year and Voltage
| ≤ 230 kV | 345 kV | 500 kV
2009 | 957.5 | 659.7 | 160.1
2010 | 1461.6 | 948.3 | 112
2011 | 951.8 | 516.5 | 262
2012 | 1074.8 | 1112.3 | 187.5
2013 | 702.9 | 3663.5 | 531
2014 | 643 | 1548 | 62

## Figure 52
Figure 52. Integration Costs at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Integration Cost ($/MWh)
APS (2007) | 1.5% | 0.91
APS (2007) | 5.9% | 3.25
APS (2007) | 10.4% | 3.57
APS (2007) | 14.8% | 4.08
Avista (2007) | 5% | 2.75
Avista (2007) | 10% | 6.99
Avista (2007) | 20% | 6.65
Avista (2007) | 30% | 8.84
BPA (2009) | 35.65% | 5.7004
BPA (2011) | 44.7% | 5.4353
BPA (2013) | 42.47% | 4.9492
CA RPS (2009) | 4% | 0.45333
ERCOT (2012) | 16.03% | 1.1978
EWITS (2010) | 31.74% | 5.13
EWITS (2010) | 32.06% | 4.6234
EWITS (2010) | 32.67% | 3.1
EWITS (2010) | 47.93% | 4.54
Idaho Power (2007) | 10% | 5.72
Idaho Power (2007) | 20% | 9.15
Idaho Power (2007) | 30% | 9.35
Idaho Power (2012) | 24.73% | 8.06
Idaho Power (2012) | 30.91% | 13.06
Idaho Power (2012) | 37.09% | 19.01
MN-MISO (2006) | 18.57% | 2.969
MN-MISO (2006) | 24.73% | 4.121
MN-MISO (2006) | 30.7% | 4.407
Nebraska (2010) | 16.68% | 1.39
Nebraska (2010) | 33.22% | 1.45
Nebraska (2010) | 33.22% | 1.52
Nebraska (2010) | 63.12% | 1.75
Northwestern (2012) | 12.38% | 11.28
Pacificorp (2005) | 11.21% | 4.64
Pacificorp (2007) | 18.2% | 5.1
Pacificorp (2010) | 12.67% | 8.85
Pacificorp (2010) | 16.92% | 9.71
Pacificorp (2012) | 20.49% | 1.888
Pacificorp (2014) | 24.53% | 3.06
Portland General Electric (2011) | 20.13% | 11.04
Portland General Electric (2013) | 17.93% | 3.99
Puget Sound Energy (2007) | 3.992% | 5.866
Puget Sound Energy (2007) | 6.942% | 6.284
Puget Sound Energy (2007) | 12.15% | 6.935
SPP-SERC (2011) | 34.1% | 4.9
We Energies (2003) | 3.549% | 1.9
We Energies (2003) | 7.097% | 2.47
We Energies (2003) | 14.19% | 2.83
We Energies (2003) | 28.39% | 2.92
Xcel-MNDOC (2004) | 15% | 4.6
Xcel-PSCo (2006) | 10% | 3.51
Xcel-PSCo (2006) | 15% | 4.77
Xcel-PSCo (2008) | 20% | 8.56
Xcel-PSCo (2011) | 27.43% | 4.45
Xcel-PSCo (2011) | 42.42% | 5.12
Xcel-UWIG (2003) | 3.5% | 1.85

## Figure 53
Figure 53. Wind Additions: Historical Installations, Projected Growth, DOE Wind Vision Report
| Historical | Projected | Projected | Projected | Projected | Projected | Projected | DOE
| Wind | Growth | Growth | Growth | Growth | Growth | Growth | Wind Vision
| Additions | BNEF | EIA | FTI | MAKE | HIS | Navigant | Scenario
| (GW) | (GW) | (GW) | (GW) | (GW) | (GW) | (GW) | (GW)
1998 | 0.14232
1999 | 0.844
2000 | 0.071
2001 | 1.69
2002 | 0.411
2003 | 1.665
2004 | 0.396
2005 | 2.374
2006 | 2.457
2007 | 5.253
2008 | 8.362
2009 | 10.005
2010 | 5.216
2011 | 6.82
2012 | 13.131
2013 | 1.087
2014 | 4.854 | [6 empty] | 6.5663
2015 |  | 9 | 8.415 | 7.5 | 7.8 | 9.5 | 8.5 | 8.4519
2016 |  | 9 | 8.846 | 5.5 | 5.6 | 4.8 | 6.3 | 8.4519
2017 |  | 1.3 |  | 2.5 | 1.3 | 0.98 | 3.6 | 7.9396
2018 |  | 1.6 |  | 3 | 3.3 | 0.84 | 4.5 | 7.9396
2019 |  | 3.1 |  | 3.5 | 4.4 | 1.9 | 4.7 | 7.2171
2020 |  | 4.9 |  |  | 5.8 | 2.8 |  | 7.2171