## Run Summary
Yorktown Power Station August 2017 Circulating Water Usage for DOE Emergency Run per PJM dispatch
Unit | On-Line | Off-Line | Days On-Line | Start-up Notification | Turbine Metal Temp < 300 deg | Total Cooling Water Days | Total Water Amount (Mgal)
1 | NA | NA | NA | NA | NA | NA | NA
1 | NA | NA | NA | NA | NA | NA | NA
|  |  | Million gallons of Intake Circulating Water through Unit 1 |  |  |  | 0
Unit | On-Line | Off-Line | Days On-Line | Start-up Notification* | Turbine Metal Temp < 300 deg* | Total Cooling Water Days | Total Water Amount (Mgal)
2 | 2017-08-22 02:54 | 2017-08-23 08:47 | 1.2451 | 2017-08-21 09:11 | 2017-08-27 00:52 | 5.15 | 774
|  |  | Million gallons of Intake Circulating Water through Unit 2 |  |  |  | 774
|  |  | Total million gallons through Unit 1 & 2 |  |  |  | 774