## YT Bi-Weekly Emissions
Dominion Energy - Yorktown Power Station
Bi-Weekly Mass Emissions
| 2018-08-14 | [7 empty] | through |  | 2018-08-27 23:00
(If opened as an Excel spreadsheet on a local computer (i.e., not on the QAEA server and not from the QAEA Portal), the "Date & Hour" will be incorrect during Daylight Savings Time)
| 1 | 3 | 4 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Unit 1 Load | Unit 2 Load | Common Stack
Substituted Data | Date & Hour | (Gross MW) | (Gross MW) | Operation (x.xx Hour) | Heat Input (mmBtu) | Stack_HI_MODC | NOx (Lbs) | Stack_NOx_Lbs_MODC | SO2 (Lbs) | Stack_SO2_Lbs_MODC | CO2 (Tons) | Stack_CO2_Tons_MODC | Coal (Tons) | PM10 (Lbs) | Lead (Lbs) | Mercury (Lbs) | HCl (Lbs) | HF (Lbs) |  | PM10 Lbs/mmBtu |  | Lead Lbs/mmBtu | Mercury Lb/Ton | HCl Lb/Ton | HF Lb/Ton | Data End Date | Report Start Date
FALSE | 2018-08-14 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814 | 0.087 | 0.1143 | 2.83e-06 | 8.3e-05 | 1.2 | 0.15 | 2018-08-28 | 2018-08-14
FALSE | 2018-08-14 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-14 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180814
FALSE | 2018-08-15 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180815
FALSE | 2018-08-15 16:00 | 0 | 0 | 0.27 | 3.267 | 1 | 0 | 1 | 0.135 | 1 | 0.324 | 1 | 0.13016 | 0.37342 | 9.2456e-06 | 1.0803e-05 | 0.15619 | 0.019524 | 20180815
FALSE | 2018-08-15 17:00 | 0 | 0 | 1 | 77.6 | 1 | 2.3 | 1 | 1 | 1 | 8 | 1 | 3.0916 | 8.8697 | 0.00021961 | 0.00025661 | 3.71 | 0.46375 | 20180815
FALSE | 2018-08-15 18:00 | 0 | 0 | 1 | 69.5 | 1 | 1.8 | 1 | 2.5 | 1 | 7.1 | 1 | 2.7689 | 7.9439 | 0.00019668 | 0.00022982 | 3.3227 | 0.41534 | 20180815
FALSE | 2018-08-15 19:00 | 0 | 0 | 1 | 75.5 | 1 | 1.6 | 1 | 4.3 | 1 | 7.7 | 1 | 3.008 | 8.6296 | 0.00021367 | 0.00024966 | 3.6096 | 0.4512 | 20180815
FALSE | 2018-08-15 20:00 | 0 | 0 | 1 | 71.6 | 1 | 1.5 | 1 | 4.5 | 1 | 7.4 | 1 | 2.8526 | 8.1839 | 0.00020263 | 0.00023676 | 3.4231 | 0.42789 | 20180815
FALSE | 2018-08-15 21:00 | 0 | 0 | 1 | 84.3 | 1 | 2.2 | 1 | 5.3 | 1 | 8.6 | 1 | 3.3586 | 9.6355 | 0.00023857 | 0.00027876 | 4.0303 | 0.50378 | 20180815
FALSE | 2018-08-15 22:00 | 0 | 0 | 1 | 68.4 | 1 | 1.3 | 1 | 4.6 | 1 | 7 | 1 | 2.7251 | 7.8181 | 0.00019357 | 0.00022618 | 3.2701 | 0.40876 | 20180815
TRUE | 2018-08-15 23:00 | 0 | 0 | 1 | 412.7 | 99 | 26.4 | 99 | 801.8 | 99 | 42.3 | 99 | 16.4422 | 47.1716 | 0.0011679 | 0.0013647 | 19.7307 | 2.4663 | 20180815
TRUE | 2018-08-16 | 0 | 0 | 1 | 430.6 | 99 | 27.6 | 99 | 836.6 | 99 | 44.2 | 99 | 17.1554 | 49.2176 | 0.0012186 | 0.0014239 | 20.5865 | 2.5733 | 20180816
TRUE | 2018-08-16 01:00 | 0 | 0 | 1 | 436.6 | 99 | 27.9 | 99 | 848.3 | 99 | 44.8 | 99 | 17.3944 | 49.9034 | 0.0012356 | 0.0014437 | 20.8733 | 2.6092 | 20180816
TRUE | 2018-08-16 02:00 | 0 | 0 | 1 | 439.3 | 99 | 28.1 | 99 | 853.5 | 99 | 45.1 | 99 | 17.502 | 50.212 | 0.0012432 | 0.0014527 | 21.0024 | 2.6253 | 20180816
TRUE | 2018-08-16 03:00 | 0 | 0 | 1 | 439.6 | 99 | 28.1 | 99 | 854 | 99 | 45.1 | 99 | 17.5139 | 50.2463 | 0.0012441 | 0.0014537 | 21.0167 | 2.6271 | 20180816
TRUE | 2018-08-16 04:00 | 0 | 3 | 1 | 439.5 | 99 | 28.1 | 99 | 853.9 | 99 | 45.1 | 99 | 17.51 | 50.2349 | 0.0012438 | 0.0014533 | 21.012 | 2.6265 | 20180816
TRUE | 2018-08-16 05:00 | 0 | 32 | 1 | 449.5 | 99 | 135.7 | 99 | 873.2 | 99 | 46.1 | 99 | 17.9084 | 51.3779 | 0.0012721 | 0.0014864 | 21.49 | 2.6863 | 20180816
TRUE | 2018-08-16 06:00 | 0 | 76 | 1 | 506.4 | 99 | 214.2 | 99 | 983.9 | 99 | 52 | 99 | 20.1753 | 57.8815 | 0.0014331 | 0.0016745 | 24.2104 | 3.0263 | 20180816
TRUE | 2018-08-16 07:00 | 0 | 111 | 1 | 630.4 | 99 | 291.9 | 99 | 1224.7 | 99 | 64.7 | 99 | 25.1155 | 72.0547 | 0.001784 | 0.0020846 | 30.1386 | 3.7673 | 20180816
TRUE | 2018-08-16 08:00 | 0 | 146 | 1 | 719.6 | 99 | 338.9 | 99 | 1398 | 99 | 73.8 | 99 | 28.6693 | 82.2503 | 0.0020365 | 0.0023796 | 34.4032 | 4.3004 | 20180816
TRUE | 2018-08-16 09:00 | 0 | 146 | 1 | 709.4 | 99 | 334.1 | 99 | 1378.3 | 99 | 72.8 | 99 | 28.2629 | 81.0844 | 0.0020076 | 0.0023458 | 33.9155 | 4.2394 | 20180816
TRUE | 2018-08-16 10:00 | 0 | 146 | 1 | 719.9 | 99 | 339.1 | 99 | 1398.7 | 99 | 73.9 | 99 | 28.6813 | 82.2846 | 0.0020373 | 0.0023805 | 34.4175 | 4.3022 | 20180816
TRUE | 2018-08-16 11:00 | 0 | 145 | 1 | 721.1 | 99 | 339.6 | 99 | 1401 | 99 | 74 | 99 | 28.7291 | 82.4217 | 0.0020407 | 0.0023845 | 34.4749 | 4.3094 | 20180816
TRUE | 2018-08-16 12:00 | 0 | 145 | 1 | 719.2 | 99 | 338.7 | 99 | 1397.3 | 99 | 73.8 | 99 | 28.6534 | 82.2046 | 0.0020353 | 0.0023782 | 34.3841 | 4.298 | 20180816
FALSE | 2018-08-16 13:00 | 0 | 145 | 1 | 1309.6 | 1 | 666.6 | 1 | 2783.6 | 1 | 134.4 | 1 | 52.1753 | 149.6873 | 0.0037062 | 0.0043305 | 62.6104 | 7.8263 | 20180816
FALSE | 2018-08-16 14:00 | 0 | 145 | 1 | 1330.4 | 1 | 689.1 | 1 | 2841.1 | 1 | 136.5 | 1 | 53.004 | 152.0647 | 0.003765 | 0.0043993 | 63.6048 | 7.9506 | 20180816
FALSE | 2018-08-16 15:00 | 0 | 145 | 1 | 1343.9 | 1 | 692.1 | 1 | 2837.6 | 1 | 137.9 | 1 | 53.5418 | 153.6078 | 0.0038032 | 0.004444 | 64.2502 | 8.0313 | 20180816
FALSE | 2018-08-16 16:00 | 0 | 145 | 1 | 1335.7 | 1 | 686.5 | 1 | 2824.2 | 1 | 137 | 1 | 53.2151 | 152.6705 | 0.00378 | 0.0044169 | 63.8582 | 7.9823 | 20180816
FALSE | 2018-08-16 17:00 | 0 | 145 | 1 | 1356.4 | 1 | 686.3 | 1 | 2831.3 | 1 | 139.2 | 1 | 54.0398 | 155.0365 | 0.0038386 | 0.0044853 | 64.8478 | 8.106 | 20180816
FALSE | 2018-08-16 18:00 | 0 | 143 | 1 | 1374 | 1 | 677.4 | 1 | 2796.6 | 1 | 141 | 1 | 54.741 | 157.0482 | 0.0038884 | 0.0045435 | 65.6892 | 8.2112 | 20180816
FALSE | 2018-08-16 19:00 | 0 | 143 | 1 | 1370.3 | 1 | 681 | 1 | 2791.1 | 1 | 140.6 | 1 | 54.5936 | 156.6253 | 0.0038779 | 0.0045313 | 65.5124 | 8.189 | 20180816
FALSE | 2018-08-16 20:00 | 0 | 143 | 1 | 1375.1 | 1 | 680.7 | 1 | 2781.9 | 1 | 141.1 | 1 | 54.7849 | 157.1739 | 0.0038915 | 0.0045471 | 65.7418 | 8.2177 | 20180816
FALSE | 2018-08-16 21:00 | 0 | 143 | 1 | 1357.5 | 1 | 678.8 | 1 | 2769.9 | 1 | 139.3 | 1 | 54.0837 | 155.1623 | 0.0038417 | 0.0044889 | 64.9004 | 8.1125 | 20180816
FALSE | 2018-08-16 22:00 | 0 | 143 | 1 | 1342.8 | 1 | 682.1 | 1 | 2743.9 | 1 | 137.8 | 1 | 53.498 | 153.482 | 0.0038001 | 0.0044403 | 64.1976 | 8.0247 | 20180816
FALSE | 2018-08-16 23:00 | 0 | 143 | 1 | 1349.6 | 1 | 680.2 | 1 | 2750.5 | 1 | 138.5 | 1 | 53.7689 | 154.2593 | 0.0038194 | 0.0044628 | 64.5227 | 8.0653 | 20180816
FALSE | 2018-08-17 | 0 | 143 | 1 | 1332.8 | 1 | 677.1 | 1 | 2750.7 | 1 | 136.7 | 1 | 53.0996 | 152.339 | 0.0037718 | 0.0044073 | 63.7195 | 7.9649 | 20180817
FALSE | 2018-08-17 01:00 | 0 | 112 | 1 | 1061.7 | 1 | 524.5 | 1 | 2227.7 | 1 | 108.9 | 1 | 42.2988 | 121.3523 | 0.0030046 | 0.0035108 | 50.7586 | 6.3448 | 20180817
FALSE | 2018-08-17 02:00 | 0 | 93 | 1 | 927.5 | 1 | 450.8 | 1 | 1969.5 | 1 | 95.2 | 1 | 36.9522 | 106.0132 | 0.0026248 | 0.003067 | 44.3426 | 5.5428 | 20180817
FALSE | 2018-08-17 03:00 | 0 | 93 | 1 | 909.6 | 1 | 447.5 | 1 | 1946.2 | 1 | 93.3 | 1 | 36.239 | 103.9673 | 0.0025742 | 0.0030078 | 43.4869 | 5.4359 | 20180817
FALSE | 2018-08-17 04:00 | 0 | 128 | 1 | 1169.8 | 1 | 611.8 | 1 | 2486.7 | 1 | 120 | 1 | 46.6056 | 133.7081 | 0.0033105 | 0.0038683 | 55.9267 | 6.9908 | 20180817
FALSE | 2018-08-17 05:00 | 0 | 145 | 1 | 1304.7 | 1 | 720.2 | 1 | 2720.9 | 1 | 133.9 | 1 | 51.9801 | 149.1272 | 0.0036923 | 0.0043143 | 62.3761 | 7.797 | 20180817
FALSE | 2018-08-17 06:00 | 0 | 145 | 1 | 1297.1 | 1 | 705.6 | 1 | 2729.7 | 1 | 133.1 | 1 | 51.6773 | 148.2585 | 0.0036708 | 0.0042892 | 62.0127 | 7.7516 | 20180817
FALSE | 2018-08-17 07:00 | 0 | 145 | 1 | 1296.9 | 1 | 687.4 | 1 | 2730.5 | 1 | 133.1 | 1 | 51.6693 | 148.2357 | 0.0036702 | 0.0042886 | 62.0032 | 7.7504 | 20180817
FALSE | 2018-08-17 08:00 | 0 | 145 | 1 | 1283.1 | 1 | 681.3 | 1 | 2738.4 | 1 | 131.6 | 1 | 51.1195 | 146.6583 | 0.0036312 | 0.0042429 | 61.3434 | 7.6679 | 20180817
FALSE | 2018-08-17 09:00 | 0 | 145 | 1 | 1288.8 | 1 | 680.5 | 1 | 2727.4 | 1 | 132.2 | 1 | 51.3466 | 147.3098 | 0.0036473 | 0.0042618 | 61.6159 | 7.702 | 20180817
FALSE | 2018-08-17 10:00 | 0 | 145 | 1 | 1301 | 1 | 676.5 | 1 | 2712.7 | 1 | 133.5 | 1 | 51.8327 | 148.7043 | 0.0036818 | 0.0043021 | 62.1992 | 7.7749 | 20180817
FALSE | 2018-08-17 11:00 | 0 | 145 | 1 | 1302.9 | 1 | 673.6 | 1 | 2711.8 | 1 | 133.7 | 1 | 51.9084 | 148.9215 | 0.0036872 | 0.0043084 | 62.29 | 7.7863 | 20180817
FALSE | 2018-08-17 12:00 | 0 | 145 | 1 | 1297.5 | 1 | 673.4 | 1 | 2695 | 1 | 133.1 | 1 | 51.6932 | 148.3042 | 0.0036719 | 0.0042905 | 62.0319 | 7.754 | 20180817
FALSE | 2018-08-17 13:00 | 0 | 145 | 1 | 1285.1 | 1 | 673.4 | 1 | 2703.6 | 1 | 131.9 | 1 | 51.1992 | 146.8869 | 0.0036368 | 0.0042495 | 61.439 | 7.6799 | 20180817
FALSE | 2018-08-17 14:00 | 0 | 145 | 1 | 1286.4 | 1 | 675.4 | 1 | 2720 | 1 | 132 | 1 | 51.251 | 147.0355 | 0.0036405 | 0.0042538 | 61.5012 | 7.6876 | 20180817
FALSE | 2018-08-17 15:00 | 0 | 145 | 1 | 1273.6 | 1 | 677.6 | 1 | 2736.7 | 1 | 130.7 | 1 | 50.741 | 145.5725 | 0.0036043 | 0.0042115 | 60.8892 | 7.6112 | 20180817
FALSE | 2018-08-17 16:00 | 0 | 145 | 1 | 1291.4 | 1 | 679.3 | 1 | 2814.4 | 1 | 132.5 | 1 | 51.4502 | 147.607 | 0.0036547 | 0.0042704 | 61.7402 | 7.7175 | 20180817
FALSE | 2018-08-17 17:00 | 0 | 145 | 1 | 1274.7 | 1 | 680.7 | 1 | 2885.7 | 1 | 130.8 | 1 | 50.7849 | 145.6982 | 0.0036074 | 0.0042151 | 60.9418 | 7.6177 | 20180817
FALSE | 2018-08-17 18:00 | 0 | 145 | 1 | 1276.8 | 1 | 676.7 | 1 | 2940.6 | 1 | 131 | 1 | 50.8685 | 145.9382 | 0.0036133 | 0.0042221 | 61.0422 | 7.6303 | 20180817
FALSE | 2018-08-17 19:00 | 0 | 144 | 1 | 1278.9 | 1 | 675.3 | 1 | 3008.3 | 1 | 131.2 | 1 | 50.9522 | 146.1783 | 0.0036193 | 0.004229 | 61.1426 | 7.6428 | 20180817
FALSE | 2018-08-17 20:00 | 0 | 144 | 1 | 1268.3 | 1 | 677.3 | 1 | 3048.4 | 1 | 130.1 | 1 | 50.5299 | 144.9667 | 0.0035893 | 0.004194 | 60.6359 | 7.5795 | 20180817
FALSE | 2018-08-17 21:00 | 0 | 136 | 1 | 1202.8 | 1 | 626.7 | 1 | 2699.7 | 1 | 123.4 | 1 | 47.9203 | 137.48 | 0.0034039 | 0.0039774 | 57.5044 | 7.188 | 20180817
FALSE | 2018-08-17 22:00 | 0 | 96 | 1 | 887.2 | 1 | 303.4 | 1 | 1776.6 | 1 | 91 | 1 | 35.3466 | 101.407 | 0.0025108 | 0.0029338 | 42.4159 | 5.302 | 20180817
FALSE | 2018-08-17 23:00 | 0 | 56 | 1 | 546.4 | 1 | 188.5 | 1 | 854.4 | 1 | 56.1 | 1 | 21.7689 | 62.4535 | 0.0015463 | 0.0018068 | 26.1227 | 3.2653 | 20180817
FALSE | 2018-08-18 | 0 | 2 | 0.2 | 41.04 | 1 | 4.22 | 1 | 22.72 | 1 | 4.22 | 1 | 1.6351 | 4.6909 | 0.00011614 | 0.00013571 | 1.9621 | 0.24526 | 20180818
FALSE | 2018-08-18 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-18 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180818
FALSE | 2018-08-19 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-19 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180819
FALSE | 2018-08-20 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-20 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180820
FALSE | 2018-08-21 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-21 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180821
FALSE | 2018-08-22 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
FALSE | 2018-08-22 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180822
TRUE | 2018-08-22 10:00 | 0 | 0 | 0.67 | 0.67 | 26 | 0 | 1 | 2.68 | 1 | 0 | 1 | 0.026693 | 0.076581 | 1.8961e-06 | 2.2155e-06 | 0.032032 | 0.004004 | 20180822
TRUE | 2018-08-22 11:00 | 0 | 0 | 1 | 1 | 26 | 0 | 1 | 2.6 | 1 | 0 | 1 | 0.039841 | 0.1143 | 2.83e-06 | 3.3068e-06 | 0.047809 | 0.0059761 | 20180822
FALSE | 2018-08-22 12:00 | 0 | 0 | 1 | 32.4 | 1 | 0.4 | 1 | 2.9 | 1 | 3.3 | 1 | 1.2908 | 3.7033 | 9.1692e-05 | 0.00010714 | 1.549 | 0.19363 | 20180822
TRUE | 2018-08-22 13:00 | 0 | 0 | 1 | 1 | 26 | 0 | 1 | 5.2 | 1 | 0 | 1 | 0.039841 | 0.1143 | 2.83e-06 | 3.3068e-06 | 0.047809 | 0.0059761 | 20180822
TRUE | 2018-08-22 14:00 | 0 | 0 | 1 | 1 | 26 | 0 | 1 | 7.2 | 1 | 0 | 1 | 0.039841 | 0.1143 | 2.83e-06 | 3.3068e-06 | 0.047809 | 0.0059761 | 20180822
FALSE | 2018-08-22 15:00 | 0 | 0 | 1 | 48.2 | 1 | 0.9 | 1 | 9.4 | 1 | 4.9 | 1 | 1.9203 | 5.5093 | 0.00013641 | 0.00015939 | 2.3044 | 0.28805 | 20180822
FALSE | 2018-08-22 16:00 | 0 | 0 | 1 | 73.1 | 1 | 1.2 | 1 | 8.7 | 1 | 7.5 | 1 | 2.9124 | 8.3553 | 0.00020687 | 0.00024173 | 3.4948 | 0.43685 | 20180822
FALSE | 2018-08-22 17:00 | 0 | 0 | 1 | 73 | 1 | 1.2 | 1 | 8.7 | 1 | 7.5 | 1 | 2.9084 | 8.3439 | 0.00020659 | 0.00024139 | 3.49 | 0.43625 | 20180822
FALSE | 2018-08-22 18:00 | 0 | 0 | 1 | 63 | 1 | 1.2 | 1 | 11.3 | 1 | 6.5 | 1 | 2.51 | 7.2009 | 0.00017829 | 0.00020833 | 3.012 | 0.37649 | 20180822
FALSE | 2018-08-22 19:00 | 0 | 0 | 1 | 86.6 | 1 | 3 | 1 | 8.1 | 1 | 8.9 | 1 | 3.4502 | 9.8984 | 0.00024508 | 0.00028637 | 4.1402 | 0.51753 | 20180822
FALSE | 2018-08-22 20:00 | 0 | 0 | 1 | 116.2 | 1 | 5.6 | 1 | 10.1 | 1 | 11.9 | 1 | 4.6295 | 13.2817 | 0.00032885 | 0.00038425 | 5.5554 | 0.69442 | 20180822
FALSE | 2018-08-22 21:00 | 0 | 0 | 1 | 134.8 | 1 | 6.6 | 1 | 12.7 | 1 | 13.8 | 1 | 5.3705 | 15.4076 | 0.00038148 | 0.00044575 | 6.4446 | 0.80558 | 20180822
FALSE | 2018-08-22 22:00 | 0 | 0 | 1 | 140.2 | 1 | 6.6 | 1 | 12.2 | 1 | 14.4 | 1 | 5.5857 | 16.0249 | 0.00039677 | 0.00046361 | 6.7028 | 0.83785 | 20180822
FALSE | 2018-08-22 23:00 | 0 | 11 | 1 | 247.4 | 1 | 44.3 | 1 | 287.4 | 1 | 25.4 | 1 | 9.8566 | 28.2778 | 0.00070014 | 0.0008181 | 11.8279 | 1.4785 | 20180822
FALSE | 2018-08-23 | 0 | 75 | 1 | 818.8 | 1 | 208 | 1 | 1835.6 | 1 | 84 | 1 | 32.6215 | 93.5888 | 0.0023172 | 0.0027076 | 39.1458 | 4.8932 | 20180823
FALSE | 2018-08-23 01:00 | 0 | 99 | 1 | 1032.3 | 1 | 524.4 | 1 | 2368.3 | 1 | 105.9 | 1 | 41.1275 | 117.9919 | 0.0029214 | 0.0034136 | 49.353 | 6.1691 | 20180823
FALSE | 2018-08-23 02:00 | 0 | 99 | 1 | 993.6 | 1 | 545.5 | 1 | 2303.2 | 1 | 101.9 | 1 | 39.5857 | 113.5685 | 0.0028119 | 0.0032856 | 47.5028 | 5.9378 | 20180823
FALSE | 2018-08-23 03:00 | 0 | 101 | 1 | 1004.6 | 1 | 547.5 | 1 | 2367 | 1 | 103.1 | 1 | 40.0239 | 114.8258 | 0.002843 | 0.003322 | 48.0287 | 6.0036 | 20180823
FALSE | 2018-08-23 04:00 | 0 | 128 | 1 | 1212.9 | 1 | 713.2 | 1 | 2997.5 | 1 | 124.4 | 1 | 48.3227 | 138.6345 | 0.0034325 | 0.0040108 | 57.9873 | 7.2484 | 20180823
FALSE | 2018-08-23 05:00 | 0 | 144 | 1 | 1369 | 1 | 825.5 | 1 | 3473.4 | 1 | 140.5 | 1 | 54.5418 | 156.4767 | 0.0038743 | 0.004527 | 65.4502 | 8.1813 | 20180823
FALSE | 2018-08-23 06:00 | 0 | 145 | 1 | 1384.1 | 1 | 819.4 | 1 | 3521.6 | 1 | 142 | 1 | 55.1434 | 158.2026 | 0.003917 | 0.0045769 | 66.1721 | 8.2715 | 20180823
TRUE | 2018-08-23 07:00 | 0 | 145 | 1 | 1376.7 | 99 | 651.2 | 99 | 3463 | 99 | 141.2 | 99 | 54.8486 | 157.3568 | 0.0038961 | 0.0045524 | 65.8183 | 8.2273 | 20180823
FALSE | 2018-08-23 08:00 | 0 | 145 | 1 | 1358.7 | 1 | 695.7 | 1 | 3421.9 | 1 | 139.4 | 1 | 54.1315 | 155.2994 | 0.0038451 | 0.0044929 | 64.9578 | 8.1197 | 20180823
FALSE | 2018-08-23 09:00 | 0 | 145 | 1 | 1367.3 | 1 | 686.4 | 1 | 3464.7 | 1 | 140.3 | 1 | 54.4741 | 156.2824 | 0.0038695 | 0.0045214 | 65.3689 | 8.1711 | 20180823
FALSE | 2018-08-23 10:00 | 0 | 145 | 1 | 1361.8 | 1 | 689.1 | 1 | 3463.2 | 1 | 139.7 | 1 | 54.255 | 155.6537 | 0.0038539 | 0.0045032 | 65.106 | 8.1382 | 20180823
FALSE | 2018-08-23 11:00 | 0 | 145 | 1 | 1361.1 | 1 | 702.3 | 1 | 3430.7 | 1 | 139.6 | 1 | 54.2271 | 155.5737 | 0.0038519 | 0.0045008 | 65.0725 | 8.1341 | 20180823
FALSE | 2018-08-23 12:00 | 0 | 145 | 1 | 1357.4 | 1 | 700.4 | 1 | 3445 | 1 | 139.3 | 1 | 54.0797 | 155.1508 | 0.0038414 | 0.0044886 | 64.8956 | 8.112 | 20180823
FALSE | 2018-08-23 13:00 | 0 | 139 | 1 | 1306.7 | 1 | 656 | 1 | 3348 | 1 | 134.1 | 1 | 52.0598 | 149.3558 | 0.003698 | 0.004321 | 62.4717 | 7.809 | 20180823
FALSE | 2018-08-23 14:00 | 0 | 93 | 1 | 939.5 | 1 | 286.5 | 1 | 2353.4 | 1 | 96.4 | 1 | 37.4303 | 107.3849 | 0.0026588 | 0.0031067 | 44.9163 | 5.6145 | 20180823
FALSE | 2018-08-23 15:00 | 0 | 23 | 0.52 | 243.048 | 1 | 75.088 | 1 | 437.32 | 1 | 24.96 | 1 | 9.6832 | 27.7804 | 0.00068783 | 0.0008037 | 11.6198 | 1.4525 | 20180823
FALSE | 2018-08-23 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-23 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180823
FALSE | 2018-08-24 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-24 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180824
FALSE | 2018-08-25 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-25 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180825
FALSE | 2018-08-26 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-26 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180826
FALSE | 2018-08-27 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
FALSE | 2018-08-27 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180827
TRUE | 2018-08-27 12:00 | 0 | 0 | 0.55 | 107.635 | 99 | 6.875 | 99 | 152.735 | 99 | 11.055 | 99 | 4.2882 | 12.3027 | 0.00030461 | 0.00035592 | 5.1459 | 0.64324 | 20180827
FALSE | 2018-08-27 13:00 | 0 | 0 | 1 | 86.3 | 1 | 2.3 | 1 | 0 | 1 | 8.9 | 1 | 3.4382 | 9.8641 | 0.00024423 | 0.00028537 | 4.1259 | 0.51574 | 20180827
FALSE | 2018-08-27 14:00 | 0 | 0 | 1 | 74.2 | 1 | 2.2 | 1 | 0 | 1 | 7.6 | 1 | 2.9562 | 8.4811 | 0.00020999 | 0.00024536 | 3.5474 | 0.44343 | 20180827
FALSE | 2018-08-27 15:00 | 0 | 0 | 1 | 71 | 1 | 2.1 | 1 | 0 | 1 | 7.3 | 1 | 2.8287 | 8.1153 | 0.00020093 | 0.00023478 | 3.3944 | 0.4243 | 20180827
FALSE | 2018-08-27 16:00 | 0 | 0 | 1 | 74.9 | 1 | 2.2 | 1 | 0 | 1 | 7.7 | 1 | 2.9841 | 8.5611 | 0.00021197 | 0.00024768 | 3.5809 | 0.44761 | 20180827
FALSE | 2018-08-27 17:00 | 0 | 0 | 1 | 77.1 | 1 | 2.4 | 1 | 0 | 1 | 7.9 | 1 | 3.0717 | 8.8125 | 0.00021819 | 0.00025495 | 3.6861 | 0.46076 | 20180827
FALSE | 2018-08-27 18:00 | 0 | 0 | 1 | 67.5 | 1 | 2 | 1 | 0 | 1 | 6.9 | 1 | 2.6892 | 7.7153 | 0.00019102 | 0.00022321 | 3.2271 | 0.40339 | 20180827
FALSE | 2018-08-27 19:00 | 0 | 0 | 1 | 74.5 | 1 | 2.2 | 1 | 0 | 1 | 7.6 | 1 | 2.9681 | 8.5153 | 0.00021084 | 0.00024635 | 3.5618 | 0.44522 | 20180827
FALSE | 2018-08-27 20:00 | 0 | 0 | 1 | 81.7 | 1 | 2.4 | 1 | 0 | 1 | 8.4 | 1 | 3.255 | 9.3383 | 0.00023121 | 0.00027016 | 3.906 | 0.48825 | 20180827
FALSE | 2018-08-27 21:00 | 0 | 0 | 1 | 73.1 | 1 | 2 | 1 | 0 | 1 | 7.5 | 1 | 2.9124 | 8.3553 | 0.00020687 | 0.00024173 | 3.4948 | 0.43685 | 20180827
FALSE | 2018-08-27 22:00 | 0 | 0 | 1 | 73.5 | 1 | 2 | 1 | 0 | 1 | 7.5 | 1 | 2.9283 | 8.401 | 0.00020801 | 0.00024305 | 3.5139 | 0.43924 | 20180827
FALSE | 2018-08-27 23:00 | 0 | 0 | 1 | 105.5 | 1 | 3.5 | 1 | 0 | 1 | 10.8 | 1 | 4.2032 | 12.0587 | 0.00029856 | 0.00034886 | 5.0438 | 0.63048 | 20180827
|  |  | Bi-Weekly Total Tons |  | 72228.4 | 2004 | 17.094 | 1904 | 76.7356 | 1904 | 7410.4 |  | 2877.62 | 4.1279 | 0.0001022 | 0.00011942 | 1.7266 | 0.21582
mmBtu
Note:
All data are collected and processed in accordance with Part 75.
Data with orange fill are substituted in accordance with Part 75.
Monthly sums may not agree with data published by EPA due to the handling of quarterly and annual totals.