## YT Bi-Weekly Emissions
Dominion Energy - Yorktown Power Station
Bi-Weekly Mass Emissions
| 2018-10-09 | [7 empty] | through |  | 2018-10-22 23:00
(If opened as an Excel spreadsheet on a local computer (i.e., not on the QAEA server and not from the QAEA Portal), the "Date & Hour" will be incorrect during Daylight Savings Time)
| 1 | 3 | 4 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Unit 1 Load | Unit 2 Load | Common Stack
Substituted Data | Date & Hour | (Gross MW) | (Gross MW) | Operation (x.xx Hour) | Heat Input (mmBtu) | Stack_HI_MODC | NOx (Lbs) | Stack_NOx_Lbs_MODC | SO2 (Lbs) | Stack_SO2_Lbs_MODC | CO2 (Tons) | Stack_CO2_Tons_MODC | CO (Lbs) | Coal (Tons) | PM10 (Lbs) | Lead (Lbs) | Mercury (Lbs) | HCl (Lbs) | HF (Lbs) |  | CO Lbs/Ton | PM10 Lbs/mmBtu |  | Lead Lbs/mmBtu | Mercury Lb/Ton | HCl Lb/Ton | HF Lb/Ton | Data End Date | Report Start Date
FALSE | 2018-10-09 | 0 | 144 | 1 | 1329 | 1 | 703 | 1 | 1797.5 | 1 | 136.4 | 1 | 26.4741 | 52.9482 | 151.9047 | 0.0037611 | 0.0043947 | 63.5378 | 7.9422 | 20181009 | 0.5 | 0.087 | 0.1143 | 2.83e-06 | 8.3e-05 | 1.2 | 0.15 | 2018-10-23 | 2018-10-09
FALSE | 2018-10-09 01:00 | 0 | 108 | 1 | 1070.5 | 1 | 551.3 | 1 | 1449 | 1 | 109.8 | 1 | 21.3247 | 42.6494 | 122.3581 | 0.0030295 | 0.0035399 | 51.1793 | 6.3974 | 20181009
FALSE | 2018-10-09 02:00 | 0 | 100 | 1 | 1017.1 | 1 | 501.4 | 1 | 1380.3 | 1 | 104.4 | 1 | 20.261 | 40.5219 | 116.2545 | 0.0028784 | 0.0033633 | 48.6263 | 6.0783 | 20181009
FALSE | 2018-10-09 03:00 | 0 | 140 | 1 | 1295.5 | 1 | 704.8 | 1 | 1786.2 | 1 | 132.9 | 1 | 25.8068 | 51.6135 | 148.0756 | 0.0036663 | 0.0042839 | 61.9363 | 7.742 | 20181009
FALSE | 2018-10-09 04:00 | 0 | 146 | 1 | 1325.1 | 1 | 724.8 | 1 | 1833.6 | 1 | 136 | 1 | 26.3964 | 52.7928 | 151.4589 | 0.00375 | 0.0043818 | 63.3514 | 7.9189 | 20181009
FALSE | 2018-10-09 05:00 | 0 | 146 | 1 | 1301.2 | 1 | 705.3 | 1 | 1813.7 | 1 | 133.5 | 1 | 25.9203 | 51.8406 | 148.7272 | 0.0036824 | 0.0043028 | 62.2088 | 7.7761 | 20181009
FALSE | 2018-10-09 06:00 | 0 | 146 | 1 | 1329.5 | 1 | 702 | 1 | 1848.5 | 1 | 136.4 | 1 | 26.4841 | 52.9681 | 151.9618 | 0.0037625 | 0.0043964 | 63.5618 | 7.9452 | 20181009
FALSE | 2018-10-09 07:00 | 0 | 147 | 1 | 1336.1 | 1 | 690.8 | 1 | 1854.4 | 1 | 137.1 | 1 | 26.6155 | 53.2311 | 152.7162 | 0.0037812 | 0.0044182 | 63.8773 | 7.9847 | 20181009
FALSE | 2018-10-09 08:00 | 0 | 147 | 1 | 1332.3 | 1 | 686.1 | 1 | 1864.5 | 1 | 136.7 | 1 | 26.5398 | 53.0797 | 152.2819 | 0.0037704 | 0.0044056 | 63.6956 | 7.962 | 20181009
FALSE | 2018-10-09 09:00 | 0 | 147 | 1 | 1333.9 | 1 | 679 | 1 | 1866.3 | 1 | 136.9 | 1 | 26.5717 | 53.1434 | 152.4648 | 0.0037749 | 0.0044109 | 63.7721 | 7.9715 | 20181009
FALSE | 2018-10-09 10:00 | 0 | 147 | 1 | 1342.8 | 1 | 679.5 | 1 | 1866.2 | 1 | 137.8 | 1 | 26.749 | 53.498 | 153.482 | 0.0038001 | 0.0044403 | 64.1976 | 8.0247 | 20181009
FALSE | 2018-10-09 11:00 | 0 | 147 | 1 | 1346.1 | 1 | 686.5 | 1 | 1860.7 | 1 | 138.1 | 1 | 26.8147 | 53.6295 | 153.8592 | 0.0038095 | 0.0044512 | 64.3554 | 8.0444 | 20181009
FALSE | 2018-10-09 12:00 | 0 | 147 | 1 | 1337.1 | 1 | 688.6 | 1 | 1852 | 1 | 137.2 | 1 | 26.6355 | 53.2709 | 152.8305 | 0.003784 | 0.0044215 | 63.9251 | 7.9906 | 20181009
FALSE | 2018-10-09 13:00 | 0 | 147 | 1 | 1339.1 | 1 | 688.3 | 1 | 1846.6 | 1 | 137.4 | 1 | 26.6753 | 53.3506 | 153.0591 | 0.0037897 | 0.0044281 | 64.0207 | 8.0026 | 20181009
FALSE | 2018-10-09 14:00 | 0 | 147 | 1 | 1356.7 | 1 | 690.6 | 1 | 1853.6 | 1 | 139.2 | 1 | 27.0259 | 54.0518 | 155.0708 | 0.0038395 | 0.0044863 | 64.8622 | 8.1078 | 20181009
FALSE | 2018-10-09 15:00 | 0 | 147 | 1 | 1358 | 1 | 692.6 | 1 | 1842.7 | 1 | 139.3 | 1 | 27.0518 | 54.1036 | 155.2194 | 0.0038431 | 0.0044906 | 64.9243 | 8.1155 | 20181009
FALSE | 2018-10-09 16:00 | 0 | 147 | 1 | 1358.3 | 1 | 688.7 | 1 | 1840.5 | 1 | 139.4 | 1 | 27.0578 | 54.1155 | 155.2537 | 0.003844 | 0.0044916 | 64.9386 | 8.1173 | 20181009
FALSE | 2018-10-09 17:00 | 0 | 147 | 1 | 1344 | 1 | 693.5 | 1 | 1834.5 | 1 | 137.9 | 1 | 26.7729 | 53.5458 | 153.6192 | 0.0038035 | 0.0044443 | 64.255 | 8.0319 | 20181009
FALSE | 2018-10-09 18:00 | 0 | 147 | 1 | 1332.6 | 1 | 683.6 | 1 | 1810.7 | 1 | 136.7 | 1 | 26.5458 | 53.0916 | 152.3162 | 0.0037713 | 0.0044066 | 63.71 | 7.9637 | 20181009
FALSE | 2018-10-09 19:00 | 0 | 147 | 1 | 1337.7 | 1 | 674.2 | 1 | 1815.4 | 1 | 137.2 | 1 | 26.6474 | 53.2948 | 152.8991 | 0.0037857 | 0.0044235 | 63.9538 | 7.9942 | 20181009
FALSE | 2018-10-09 20:00 | 0 | 144 | 1 | 1326.4 | 1 | 667.2 | 1 | 1795.5 | 1 | 136.1 | 1 | 26.4223 | 52.8446 | 151.6075 | 0.0037537 | 0.0043861 | 63.4135 | 7.9267 | 20181009
FALSE | 2018-10-09 21:00 | 0 | 144 | 1 | 1322.5 | 1 | 669.2 | 1 | 1812.3 | 1 | 135.7 | 1 | 26.3446 | 52.6892 | 151.1618 | 0.0037427 | 0.0043732 | 63.2271 | 7.9034 | 20181009
FALSE | 2018-10-09 22:00 | 0 | 144 | 1 | 1337.7 | 1 | 676.9 | 1 | 1818.7 | 1 | 137.3 | 1 | 26.6474 | 53.2948 | 152.8991 | 0.0037857 | 0.0044235 | 63.9538 | 7.9942 | 20181009
FALSE | 2018-10-09 23:00 | 0 | 144 | 1 | 1322.5 | 1 | 677.1 | 1 | 1827.6 | 1 | 135.7 | 1 | 26.3446 | 52.6892 | 151.1618 | 0.0037427 | 0.0043732 | 63.2271 | 7.9034 | 20181009
FALSE | 2018-10-10 | 0 | 144 | 1 | 1328.8 | 1 | 677.7 | 1 | 1825.5 | 1 | 136.3 | 1 | 26.4701 | 52.9402 | 151.8818 | 0.0037605 | 0.004394 | 63.5283 | 7.941 | 20181010
FALSE | 2018-10-10 01:00 | 0 | 144 | 1 | 1338 | 1 | 685.1 | 1 | 1836 | 1 | 137.3 | 1 | 26.6534 | 53.3068 | 152.9334 | 0.0037865 | 0.0044245 | 63.9681 | 7.996 | 20181010
FALSE | 2018-10-10 02:00 | 0 | 144 | 1 | 1340.5 | 1 | 690.4 | 1 | 1834 | 1 | 137.5 | 1 | 26.7032 | 53.4064 | 153.2191 | 0.0037936 | 0.0044327 | 64.0876 | 8.011 | 20181010
FALSE | 2018-10-10 03:00 | 0 | 144 | 1 | 1334.1 | 1 | 693.7 | 1 | 1823.2 | 1 | 136.9 | 1 | 26.5757 | 53.1514 | 152.4876 | 0.0037755 | 0.0044116 | 63.7817 | 7.9727 | 20181010
FALSE | 2018-10-10 04:00 | 0 | 144 | 1 | 1339.5 | 1 | 683.1 | 1 | 1835.6 | 1 | 137.4 | 1 | 26.6833 | 53.3665 | 153.1048 | 0.0037908 | 0.0044294 | 64.0398 | 8.005 | 20181010
FALSE | 2018-10-10 05:00 | 0 | 144 | 1 | 1306 | 1 | 670 | 1 | 1795.6 | 1 | 134 | 1 | 26.0159 | 52.0319 | 149.2758 | 0.003696 | 0.0043186 | 62.4382 | 7.8048 | 20181010
FALSE | 2018-10-10 06:00 | 0 | 144 | 1 | 1322.1 | 1 | 687.5 | 1 | 1832.7 | 1 | 135.6 | 1 | 26.3367 | 52.6733 | 151.116 | 0.0037415 | 0.0043719 | 63.208 | 7.901 | 20181010
FALSE | 2018-10-10 07:00 | 0 | 144 | 1 | 1313.3 | 1 | 690.8 | 1 | 1842.4 | 1 | 134.7 | 1 | 26.1614 | 52.3227 | 150.1102 | 0.0037166 | 0.0043428 | 62.7873 | 7.8484 | 20181010
FALSE | 2018-10-10 08:00 | 0 | 144 | 1 | 1326.3 | 1 | 689.7 | 1 | 1864.1 | 1 | 136.1 | 1 | 26.4203 | 52.8406 | 151.5961 | 0.0037534 | 0.0043858 | 63.4088 | 7.9261 | 20181010
FALSE | 2018-10-10 09:00 | 0 | 144 | 1 | 1325.4 | 1 | 691.9 | 1 | 1898.5 | 1 | 136 | 1 | 26.4024 | 52.8048 | 151.4932 | 0.0037509 | 0.0043828 | 63.3657 | 7.9207 | 20181010
FALSE | 2018-10-10 10:00 | 0 | 144 | 1 | 1318.8 | 1 | 691.1 | 1 | 1898.9 | 1 | 135.3 | 1 | 26.2709 | 52.5418 | 150.7388 | 0.0037322 | 0.004361 | 63.0502 | 7.8813 | 20181010
FALSE | 2018-10-10 11:00 | 0 | 144 | 1 | 1328.2 | 1 | 690.7 | 1 | 1925 | 1 | 136.3 | 1 | 26.4582 | 52.9163 | 151.8133 | 0.0037588 | 0.0043921 | 63.4996 | 7.9375 | 20181010
FALSE | 2018-10-10 12:00 | 0 | 144 | 1 | 1320.1 | 1 | 686.5 | 1 | 1922.5 | 1 | 135.4 | 1 | 26.2968 | 52.5936 | 150.8874 | 0.0037359 | 0.0043653 | 63.1124 | 7.889 | 20181010
FALSE | 2018-10-10 13:00 | 0 | 144 | 1 | 1328.5 | 1 | 689.5 | 1 | 1941.1 | 1 | 136.3 | 1 | 26.4641 | 52.9283 | 151.8476 | 0.0037597 | 0.004393 | 63.5139 | 7.9392 | 20181010
FALSE | 2018-10-10 14:00 | 0 | 144 | 1 | 1316.7 | 1 | 692.6 | 1 | 1947 | 1 | 135.1 | 1 | 26.2291 | 52.4582 | 150.4988 | 0.0037263 | 0.004354 | 62.9498 | 7.8687 | 20181010
FALSE | 2018-10-10 15:00 | 0 | 144 | 1 | 1329.1 | 1 | 693.8 | 1 | 1959.8 | 1 | 136.4 | 1 | 26.4761 | 52.9522 | 151.9161 | 0.0037614 | 0.004395 | 63.5426 | 7.9428 | 20181010
FALSE | 2018-10-10 16:00 | 0 | 144 | 1 | 1327.2 | 1 | 692.8 | 1 | 1971 | 1 | 136.2 | 1 | 26.4382 | 52.8765 | 151.699 | 0.003756 | 0.0043887 | 63.4518 | 7.9315 | 20181010
FALSE | 2018-10-10 17:00 | 0 | 144 | 1 | 1341.1 | 1 | 698.7 | 1 | 1968 | 1 | 137.6 | 1 | 26.7151 | 53.4303 | 153.2877 | 0.0037953 | 0.0044347 | 64.1163 | 8.0145 | 20181010
FALSE | 2018-10-10 18:00 | 0 | 144 | 1 | 1314.8 | 1 | 682.4 | 1 | 1942 | 1 | 134.9 | 1 | 26.1912 | 52.3825 | 150.2816 | 0.0037209 | 0.0043477 | 62.859 | 7.8574 | 20181010
FALSE | 2018-10-10 19:00 | 0 | 144 | 1 | 1321.6 | 1 | 683.3 | 1 | 1973.9 | 1 | 135.6 | 1 | 26.3267 | 52.6534 | 151.0589 | 0.0037401 | 0.0043702 | 63.1841 | 7.898 | 20181010
FALSE | 2018-10-10 20:00 | 0 | 144 | 1 | 1318 | 1 | 676.1 | 1 | 2016 | 1 | 135.2 | 1 | 26.255 | 52.51 | 150.6474 | 0.0037299 | 0.0043583 | 63.012 | 7.8765 | 20181010
FALSE | 2018-10-10 21:00 | 0 | 144 | 1 | 1297.1 | 1 | 669.3 | 1 | 2038.3 | 1 | 133.1 | 1 | 25.8386 | 51.6773 | 148.2585 | 0.0036708 | 0.0042892 | 62.0127 | 7.7516 | 20181010
FALSE | 2018-10-10 22:00 | 0 | 144 | 1 | 1297.6 | 1 | 665.7 | 1 | 2074.8 | 1 | 133.1 | 1 | 25.8486 | 51.6972 | 148.3157 | 0.0036722 | 0.0042909 | 62.0367 | 7.7546 | 20181010
FALSE | 2018-10-10 23:00 | 0 | 144 | 1 | 1295.5 | 1 | 665.9 | 1 | 2094.2 | 1 | 132.9 | 1 | 25.8068 | 51.6135 | 148.0756 | 0.0036663 | 0.0042839 | 61.9363 | 7.742 | 20181010
FALSE | 2018-10-11 | 0 | 144 | 1 | 1296.2 | 1 | 670.1 | 1 | 2104.9 | 1 | 133 | 1 | 25.8207 | 51.6414 | 148.1557 | 0.0036682 | 0.0042862 | 61.9697 | 7.7462 | 20181011
FALSE | 2018-10-11 01:00 | 0 | 106 | 1 | 1064.3 | 1 | 536.4 | 1 | 1640.4 | 1 | 109.2 | 1 | 21.2012 | 42.4024 | 121.6495 | 0.003012 | 0.0035194 | 50.8829 | 6.3604 | 20181011
FALSE | 2018-10-11 02:00 | 0 | 98 | 1 | 998.1 | 1 | 498.1 | 1 | 1533 | 1 | 102.4 | 1 | 19.8825 | 39.7649 | 114.0828 | 0.0028246 | 0.0033005 | 47.7179 | 5.9647 | 20181011
FALSE | 2018-10-11 03:00 | 0 | 132 | 1 | 1252.2 | 1 | 669.9 | 1 | 1947.1 | 1 | 128.5 | 1 | 24.9442 | 49.8884 | 143.1265 | 0.0035437 | 0.0041407 | 59.8661 | 7.4833 | 20181011
FALSE | 2018-10-11 04:00 | 0 | 144 | 1 | 1326.7 | 1 | 739 | 1 | 2079.6 | 1 | 136.1 | 1 | 26.4283 | 52.8566 | 151.6418 | 0.0037546 | 0.0043871 | 63.4279 | 7.9285 | 20181011
FALSE | 2018-10-11 05:00 | 0 | 144 | 1 | 1299.8 | 1 | 713.6 | 1 | 2014 | 1 | 133.4 | 1 | 25.8924 | 51.7849 | 148.5671 | 0.0036784 | 0.0042981 | 62.1418 | 7.7677 | 20181011
FALSE | 2018-10-11 06:00 | 0 | 144 | 1 | 1327 | 1 | 704.6 | 1 | 2045.2 | 1 | 136.1 | 1 | 26.4343 | 52.8685 | 151.6761 | 0.0037554 | 0.0043881 | 63.4422 | 7.9303 | 20181011
FALSE | 2018-10-11 07:00 | 0 | 144 | 1 | 1319.7 | 1 | 691.5 | 1 | 2041.1 | 1 | 135.4 | 1 | 26.2888 | 52.5777 | 150.8417 | 0.0037348 | 0.0043639 | 63.0932 | 7.8867 | 20181011
FALSE | 2018-10-11 08:00 | 0 | 144 | 1 | 1321.9 | 1 | 682.1 | 1 | 2034.9 | 1 | 135.6 | 1 | 26.3327 | 52.6653 | 151.0932 | 0.003741 | 0.0043712 | 63.1984 | 7.8998 | 20181011
FALSE | 2018-10-11 09:00 | 0 | 144 | 1 | 1323.9 | 1 | 683.1 | 1 | 2026.4 | 1 | 135.8 | 1 | 26.3725 | 52.745 | 151.3218 | 0.0037466 | 0.0043778 | 63.294 | 7.9118 | 20181011
FALSE | 2018-10-11 10:00 | 0 | 144 | 1 | 1335 | 1 | 683.5 | 1 | 2011.2 | 1 | 137 | 1 | 26.5936 | 53.1873 | 152.5905 | 0.003778 | 0.0044145 | 63.8247 | 7.9781 | 20181011
FALSE | 2018-10-11 11:00 | 0 | 144 | 1 | 1328.8 | 1 | 680.3 | 1 | 1992.1 | 1 | 136.3 | 1 | 26.4701 | 52.9402 | 151.8818 | 0.0037605 | 0.004394 | 63.5283 | 7.941 | 20181011
FALSE | 2018-10-11 12:00 | 0 | 144 | 1 | 1328.6 | 1 | 684.2 | 1 | 1972.2 | 1 | 136.3 | 1 | 26.4661 | 52.9323 | 151.859 | 0.0037599 | 0.0043934 | 63.5187 | 7.9398 | 20181011
FALSE | 2018-10-11 13:00 | 0 | 144 | 1 | 1341.4 | 1 | 681.4 | 1 | 1969.4 | 1 | 137.6 | 1 | 26.7211 | 53.4422 | 153.322 | 0.0037962 | 0.0044357 | 64.1307 | 8.0163 | 20181011
FALSE | 2018-10-11 14:00 | 0 | 144 | 1 | 1339.2 | 1 | 687 | 1 | 1951.4 | 1 | 137.4 | 1 | 26.6773 | 53.3546 | 153.0706 | 0.0037899 | 0.0044284 | 64.0255 | 8.0032 | 20181011
FALSE | 2018-10-11 15:00 | 0 | 144 | 1 | 1339.5 | 1 | 695.2 | 1 | 1945.8 | 1 | 137.4 | 1 | 26.6833 | 53.3665 | 153.1048 | 0.0037908 | 0.0044294 | 64.0398 | 8.005 | 20181011
FALSE | 2018-10-11 16:00 | 0 | 144 | 1 | 1315.6 | 1 | 698.6 | 1 | 1939 | 1 | 135 | 1 | 26.2072 | 52.4143 | 150.3731 | 0.0037231 | 0.0043504 | 62.8972 | 7.8622 | 20181011
FALSE | 2018-10-11 17:00 | 0 | 144 | 1 | 1313.2 | 1 | 701.2 | 1 | 1938.4 | 1 | 134.7 | 1 | 26.1594 | 52.3187 | 150.0988 | 0.0037164 | 0.0043425 | 62.7825 | 7.8478 | 20181011
FALSE | 2018-10-11 18:00 | 0 | 144 | 1 | 1251.5 | 1 | 687.1 | 1 | 1892.8 | 1 | 128.4 | 1 | 24.9303 | 49.8606 | 143.0464 | 0.0035417 | 0.0041384 | 59.8327 | 7.4791 | 20181011
FALSE | 2018-10-11 19:00 | 0 | 144 | 1 | 1282.6 | 1 | 700.3 | 1 | 1903.9 | 1 | 131.6 | 1 | 25.5498 | 51.0996 | 146.6012 | 0.0036298 | 0.0042413 | 61.3195 | 7.6649 | 20181011
FALSE | 2018-10-11 20:00 | 0 | 144 | 1 | 1297.8 | 1 | 713.8 | 1 | 1922.2 | 1 | 133.1 | 1 | 25.8526 | 51.7052 | 148.3385 | 0.0036728 | 0.0042915 | 62.0462 | 7.7558 | 20181011
FALSE | 2018-10-11 21:00 | 0 | 144 | 1 | 1292 | 1 | 705.4 | 1 | 1924.5 | 1 | 132.6 | 1 | 25.7371 | 51.4741 | 147.6756 | 0.0036564 | 0.0042724 | 61.7689 | 7.7211 | 20181011
FALSE | 2018-10-11 22:00 | 0 | 144 | 1 | 1288.5 | 1 | 690.6 | 1 | 1922.1 | 1 | 132.2 | 1 | 25.6673 | 51.3347 | 147.2756 | 0.0036465 | 0.0042608 | 61.6016 | 7.7002 | 20181011
FALSE | 2018-10-11 23:00 | 0 | 145 | 1 | 1279.7 | 1 | 696.2 | 1 | 1929.1 | 1 | 131.3 | 1 | 25.492 | 50.9841 | 146.2697 | 0.0036216 | 0.0042317 | 61.1809 | 7.6476 | 20181011
FALSE | 2018-10-12 | 0 | 142 | 1 | 1286.4 | 1 | 694.7 | 1 | 1930 | 1 | 132 | 1 | 25.6255 | 51.251 | 147.0355 | 0.0036405 | 0.0042538 | 61.5012 | 7.6876 | 20181012
FALSE | 2018-10-12 01:00 | 0 | 101 | 1 | 973.8 | 1 | 364.2 | 1 | 1435.8 | 1 | 99.9 | 1 | 19.3984 | 38.7968 | 111.3053 | 0.0027559 | 0.0032201 | 46.5562 | 5.8195 | 20181012
FALSE | 2018-10-12 02:00 | 0 | 40 | 0.73 | 520.417 | 1 | 154.03 | 1 | 549.179 | 1 | 53.363 | 1 | 10.3669 | 20.7337 | 59.4837 | 0.0014728 | 0.0017209 | 24.8805 | 3.1101 | 20181012
FALSE | 2018-10-12 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-12 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181012
FALSE | 2018-10-13 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-13 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181013
FALSE | 2018-10-14 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-14 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181014
FALSE | 2018-10-15 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-15 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181015
FALSE | 2018-10-16 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-16 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181016
FALSE | 2018-10-17 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-17 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181017
FALSE | 2018-10-18 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-18 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181018
FALSE | 2018-10-19 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-19 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181019
FALSE | 2018-10-20 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-20 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181020
FALSE | 2018-10-21 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-21 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181021
FALSE | 2018-10-22 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
FALSE | 2018-10-22 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181022
|  |  | Bi-Weekly Total Tons |  | 96803.8 | 336 | 25.1 | 336 | 69.9 | 336 | 9932 |  | 1 | 3856.73 | 5.5323 | 0.00013698 | 0.00016005 | 2.314 | 0.28925
mmBtu
Note:
All data are collected and processed in accordance with Part 75.
Data with orange fill are substituted in accordance with Part 75.
Monthly sums may not agree with data published by EPA due to the handling of quarterly and annual totals.
Formulas:
Data End Date = '[1]Input Data'!B9
Report Start Date = [Data End Date]-13-TIME(23,59,59)